Model Safety Program for Mechanical Service

# Company Name

# Safety and Health Program

(Last Evaluated and Revised Date)

# Table of Contents

Policy Statement	4

Corporate Commitment Letter	6

Disciplinary Action Policy	7

Accident/Incident Investigation Policy	8

Substance Abuse and Testing Policy	9

Safety Incentive Program Policy	9

Light Duty Policy	10

Safety & Health Training Required by OSHA	10

Additional Safety & Health Training	11

Jobsite Hazard Evaluations	11

Required Safe Work Practices	16

# Policy Statement

It is the policy of company name to provide a safe and healthy work environment for each of its workers. Each employee in this company, from the chief executive officer to the newest service technician, is expected to make worker safety and health the top priority. Name of CEO, CEO shall evaluate safety performance on a continuous basis and make changes as necessary to maintain high quality safety and health performance throughout the company. The evaluations shall include analysis of:

## Leading Indicators of Safety and Health Performance:

Frequency of safety/health communications, such as meetings, formal training, and short duration training;

Frequency of task hazard analyses for high hazard tasks;

Quality of pre-task safety and health planning for high hazard tasks; and

Quality of implementation of pre-task safety and health plans for high hazard tasks.

## Lagging Indicators of Safety Performance:

Number of injuries/illnesses requiring medical attention;

Number of recordable injury/illness cases;

Number of lost workday injury/illness cases; and

Number of lost workdays from injury/illness.

All company name supervisors and workers are responsible for worker safety. Their responsibilities include, but are not limited to, the responsibilities shown below. Each supervisor and worker is expected to fulfil their safety and health responsibilities, and each will be held accountable to ensure that their responsibilities are fulfilled.

## Supervisor Responsibilities

Ensure that pre-job/pre-task safety and health planning is performed for every new high hazard job or task;

Enforce safe work practices;

Provide all workers with appropriate safety and health training;

Provide personal protective equipment as required;

Record and report jobsite injuries and illnesses as required;

Implement the company’s disciplinary action policy;

Provide incentives for workers to perform their work tasks safely;

Implement the company’s substance abuse and drug testing policy;

Investigate accidents and near miss incidents;

Address the most common hazards in mechanical service work on a continuous basis;

Encourage worker participation in establishing new and revising existing company safe work practices;

Obey all established safe work rules;

Participate in safety orientation training sessions;

Immediately address all unsafe or unhealthy acts or conditions observed;

Immediately address all safety and/or health issues raised by any worker;

Never report to work under the influence of alcohol or drugs; and

Never be in possession of alcohol or illegal drugs while at work.

## Worker Responsibilities

Obey all established safe work rules;

Attend and participate in all required safety training sessions;

Immediately report any unsafe or unhealthy acts or conditions observed;

Never report to work under the influence of alcohol or drugs; and

Never be in possession of alcohol or illegal drugs while at work.

# Corporate Commitment Letter

Date

Dear Employee Name:

Congratulations on choosing to work with one of the safest mechanical service companies in the industry.

Company name is committed to providing you a safe and healthy workplace. Because you will play a major role in helping us keep your workplaces safe, you are expected to quickly learn and comply with our safety policies and safe work practices.

If you have any questions about our safety policies and safe work practices, or if you have any concerns or ideas regarding workplace safety or health, inform your supervisor immediately. All supervisors are required to promptly address all worker safety and health questions, ideas, and concerns.

Welcome aboard!

Sincerely,

CEO Signature
CEO

# Disciplinary Action Policy

As a course of policy, all employees at company name are required to:

Obey all established safe work practices and company safety policies;

Attend and participate in all required safety and health training sessions; and

Immediately report any unsafe acts, conditions, safe work practice violations, and/or company safety policy violations.

Failure to comply with any of these requirements will result in immediate disciplinary action as follows:

1st offense – The supervisor addressing the violation will take immediate action to ensure that the unsafe act is stopped, or unsafe/unhealthful condition is abated, and the worker responsible for the violation receives a verbal warning. The supervisor will document the warning and place it in the worker’s personnel file.

2nd offense – The supervisor addressing the violation will take immediate action to ensure that the unsafe act is stopped, or the unsafe/unhealthy condition is abated, and the worker responsible for the violation receives a written warning. A copy of the written warning will be placed in the worker’s personnel file.

3rd offense – The supervisor addressing the violation will take immediate action to ensure that the unsafe act is stopped, or unsafe/unhealthful condition is abated, and the worker responsible for the violation is suspended for three days without pay. The union business manager will be contacted before implementing the suspension. Documentation regarding the suspension will be placed in the worker’s personnel file.

4th offense – Occurrence of the same violation a fourth time will be documented and placed in the worker’s personnel file. The worker will be discharged. The union business manager will be contacted before discharging the worker.

This course of disciplinary action does not apply to supervisors or workers under the influence of alcohol or drugs while working (see company name Substance Abuse and Testing Policy).

# Accident/Incident Investigation Policy

To help prevent the recurrence of accidents/incidents, it is the policy of company name to investigate all accidents that result in worker injuries requiring medical attention and all reported incidents (near miss incidents) involving no injuries. The supervisor in charge at the time of the accident/
incident is required to:

Start the investigation as soon as possible after the accident/incident occurs;

Be impartial throughout the investigation;

Interview the victim(s) alone as soon as possible after they are out of danger;

Interview all other witnesses individually (one at a time, away from other witnesses);

Get as much detail as possible from victim(s) and witnesses;

Carefully inspect the scene for evidence;

Take pictures where appropriate;

Study all possible causes. Consider the possibility that both unsafe acts and/or unsafe conditions may have contributed to the accident/incident;

Try to reconstruct the accident/incident and describe it in the report; and

Write a narrative style report that includes:

  - The date, time and location of the accident/incident;

  - A detailed description of the accident/incident;

  - The number of workers injured, types of injuries, weather conditions, lighting, substance abuse, fatigue, etc. (if applicable);

  - All obvious contributing factors;

  - All other possible contributing factors; and

  - A strategy for preventing recurrence.

Implement recurrence prevention strategies immediately.

If more than one supervisor performs an investigation, all investigators will review the draft reports and work out any conflicting information/details until they agree on the final report.

# Substance Abuse and Testing Policy

Company name is committed to establishing and maintaining a drug-free workplace. The purpose of this policy is to increase on-the-job safety and ensure high-quality services and productivity to customers by denying jobsite presence to individuals whose abilities are impaired by drugs or alcohol or otherwise violate this policy.

Company name adheres to the most current version of the UA/MCAA Smart Dispatch Model Substance Abuse Testing & Treatment Program Policy, which involves implementation, pre-employment, pre-access, random, post-accident/incident, reasonable suspicion, periodic, return to work, and probationary status/follow-up testing. This policy, along with company name’s Employee Assistance Program (EAP), will help produce and maintain a safe, healthy, and drug-free workplace for all employees.

# Safety Incentive Program Policy

It is the policy of company name to reward workers who consistently comply with the company’s safety and/or health policies and required safe work practices and exhibit total commitment to protecting themselves and their coworkers from workplace hazards. Therefore, company name will consistently implement a safety incentive program selected from a variety of programs presented in the MCAA Guide to Safety Incentive Programs or another credible source of safety incentive programs. Specifically, company name will reward its workers who are always in compliance with the company’s safety and health policies and required safe work practices, and who:

Report unsafe acts;

Report unsafe conditions;

Report environmental issues;

Actively participate on a company safety/health committee;

Successfully complete xxx safety/health training sessions;

Voluntarily participate as a presenter or assistant presenter providing safety/health training for co-workers;

Present safety/health ideas to the company; and/or

Identify and correct safety/health issues without being assigned to do so.

Each affected company name supervisor is responsible for selecting an appropriate safety incentive program and ensuring its implementation.

# Light Duty Policy

It is the policy of company name to bring workers who are receiving workers’ compensation insurance back to work as soon as possible. Workers who are physically capable of performing light duty tasks are required to report to work. A determination of whether a worker is physically capable of performing light duty tasks is to be made by company name’s occupational medicine provider, name of health care provider.

The light duty tasks will be determined by the worker’s supervisor and based on recommendations from name of health care provider. The supervisor is required to document the provider’s recommendations and obtain a written statement from the provider indicating that the worker is physically capable of performing the specified light duty work.

Workers who are physically capable of performing their regular work tasks are required to return to them immediately. A determination of whether a worker is physically capable of performing their regular job tasks shall be made by name of health care provider. The supervisor is required to document the provider’s recommendations and obtain a written statement from the provider indicating that the worker is physically capable of performing regular work tasks.

# Safety & Health Training Required by OSHA

All affected company name workers will receive OSHA-required safety and health training on each of the subjects shown below that apply to the work that they will be performing. The training for each individual safety training subject area will be completed before any work involving that subject is performed.

_____ Emergency action plans

_____ Fire prevention plans

_____ Powered platforms for building maintenance

_____ Occupational noise exposure

_____ Flammable liquids

_____ Storage and handling of liquified petroleum gases

_____ Process safety management of highly hazardous chemicals

_____ Hazardous waste operations and emergency response

_____ Personal protective equipment (general requirements)

_____ Respiratory protection

_____ Specifications for accident prevention signs and tags

_____ Permit required confined spaces

_____ Control of hazardous energy (lockout/tagout)

_____ Medical services and first aid

_____ Fire protection

_____ Portable fire extinguishers

_____ Fire detection systems

_____ Employee alarm systems

_____ Powered industrial trucks

_____ Overhead and gantry cranes

_____ Crawler locomotive, and truck cranes

_____ Mechanical power presses

_____ Welding, cutting, brazing (general requirements)

_____ Oxygen-fuel gas welding and cutting

_____ Arc welding and cutting

_____ Resistance welding

_____ Electrical safety-related work practices

_____ Asbestos

_____ Lead

_____ Hexavalent chromium

_____ Cadmium

_____ Bloodborne pathogens

_____ Ionizing radiation

_____ Hazard communication

# Additional Safety & Health Training

All affected company name workers will receive additional safety and/or health training as needed, including:

How to perform effective jobsite hazard evaluations, and use the results to prevent injuries/illnesses;

NFPA 70E - Electrical Safety in the Workplace;

Fall prevention and protection for unique mechanical service applications;

Pressure testing safety for steel and copper piping systems; and

All other safety and health subjects as necessary for their protection.

# Jobsite Hazard Evaluations

Before starting work on any high hazard task at an unfamiliar jobsite, or any jobsite that has been significantly changed since the worker was last there,

the affected worker and/or affected supervisor is required to perform a jobsite hazard evaluation using each applicable item in the checklist below as a guide.

## Confined Space Entry

_____ Received training in confined space entry

_____ Pre-entry plan established/workers briefed

_____ Space properly isolated

_____ Air monitoring equipment calibrated

_____ Monitoring performed pre-entry/periodic/continuous

_____ Adequate oxygen content (19.5% - 23.5%)

_____ Free of toxic/flammable/explosive gases

_____ Attendant assigned/communication established

_____ Adequate ventilation established where needed

_____ Weld purge properly vented

_____ Acceptable access/egress established

_____ Appropriate non-entry retrieval in place

_____ Adequate emergency rescue on standby

_____ Compressed cylinders kept out of the space

_____ Tools/equipment/cords/lighting/electronics/rated for the space

_____ Workers in proper personal protective equipment (PPE)

_____ Space protected from unauthorized entry

## Cranes and Hoists

_____ Inspections/maintenance current

_____ Equipment supported/outriggers used

_____ Load capacities posted/not exceeded

_____ Rigging inspected/good condition

_____ Rigging load capacities not exceeded

_____ Chain falls inspected before use

_____ Chain falls used properly

_____ Signal person used

_____ No one permitted under the suspended load

_____ Swing radius barricaded

## Electrical – General

_____ Ground-fault circuit interrupter (GFCI) or Assured Equipment Grounding in use

_____ Ground fault circuit interrupter (GFCI) tested regularly

_____ Receptacles checked for proper wiring/grounding

_____ Outlets not overloaded

_____ Flexible cords properly rated

_____ Extension cords suspended by non-conductive hangers

## Electrical – NFPA 70E – Arc Flash Protection

_____ Qualified-level arc flash safety training current

_____ Hazard Risk Category-based PPE in use

_____ Meter properly tested before use

_____ Tools properly insulated

_____ Power off after troubleshooting

_____ Stored current discharged

_____ Unit tested dead

_____ Unit locked out where appropriate

## Fall Prevention/Protection General

_____ 4’ fall prevention/protection rule observed

_____ Adequate fall prevention/protection system in use

_____ All equipment inspected before use

_____ Floor/roof openings covered/guarded

## Fire Prevention and Protection

_____ Flammable/combustible liquids away from ignition sources

_____ Approved portable containers with self-closing lids

_____ Flammable/combustible materials away from hot work

_____ Adequate size Class ABC fire extinguishers readily accessible

_____ Extinguishers fully charged/recently inspected

_____ Extinguishers readily accessible in hot work areas

_____ Fire watch

## First Aid/Medical/Bloodborne Pathogens (BBP)

_____ First Aid Kit readily accessible

_____ First Aid Kit properly maintained

## Hazard Communication (GHS)

_____ Affected worker properly trained

_____ Additional training when new hazards are introduced

_____ Complete list of chemicals included in Hazard Communication program

_____ Safety Data Sheet (SDS) for each readily accessible

_____ All containers properly labeled per the GHS

_____ All chemicals properly segregated/stored

## Housekeeping

_____ Work areas free from clutter

_____ Slip/trip/fall hazards addressed

## Ladders

_____ All affected workers properly trained

_____ Ladders inspected before use

_____ Defective ladders immediately removed from service

_____ Appropriate ladder chosen for each specific task

_____ Portable ladders are non-conductive

_____ Portable ladders are minimum Class 1-A

_____ Ladders are set up properly

_____ Extension/straight ladders 3’ above landing

_____ Extension/straight ladders properly pitched (4 to 1 ratio)

_____ Ladders secured in place (tied or braced)

_____ Step ladders fully open when in use

_____ Constant 3-point contact maintained when climbing

## Materials Handling

_____ Powered handling equipment used when possible

_____ Non-powered wheeled handling equipment readily accessible

_____ Manual handling minimized

_____ Proper lifting techniques used

## Personal Protective Equipment – Standard

_____ Hardhats used where appropriate

_____ Safety glasses used

_____ Face shields used where appropriate

_____ Task appropriate gloves used where appropriate

_____ Task appropriate footwear used

_____ Task appropriate clothing used

_____ Respiratory protection used where applicable

_____ Hearing protection used where applicable

_____ Chemical-protective clothing/gloves used where applicable

## Refrigerant Use

_____ Safety Data Sheet (SDS) read

_____ Ventilation adequate

_____ Class/toxicity/flammability determined prior to use

_____ Proper PPE for face/eyes/hands in use

## Tools - Hand and Power Tools

_____ Tools inspected and in good condition

_____ Defective tool procedures observed

_____ Proper tools used for the job

_____ Power tool cords in good condition

_____ Strain relief in place on corded tools

_____ Extension cords in good condition

_____ Extension cords’ ground fault circuit interrupters (GFCI) in place/tested/functioning

_____ Tool guards in place

## Vehicles – Service Van/Truck

_____ Inspections/maintenance current

_____ Registrations/insurance/state inspections current

_____ Cab/dashboard clean/neat/organized

_____ Seat belts worn always

_____ Loads properly secured/not overloaded

_____ Chemical quantities limited to MOT Exceptions

_____ Chemical containers properly secured

_____ Materials stored to limit bending/reaching

## Welding and Cutting

_____ Hot work permit

_____ No combustible materials within 35’ of the work

_____ Charged/inspected Class ABC fire extinguisher within 25’

_____ Leads arranged to prevent tripping

_____ Leads in good condition/no repairs within first 10’

_____ Only qualified person permitted to repair leads

_____ Boots protecting lead attachments at welder

_____ Helmets/shaded lenses/welding gloves/protective clothing in use

_____ Safety glasses worn under welding helmet

_____ Welding screens in use

_____ Cylinders properly labeled

_____ Cylinders upright/secured

_____ Cylinders off and valve caps in place when not in use

_____ Stored oxy/fuel cylinders 20’ apart with 5 ½ hour rated barrier

_____ Cylinders storage adequate

_____ Cylinders marked as empty when appropriate

_____ Wrenches left on cylinders during use when applicable

_____ Regulators/gauges inspected/good condition

_____ Weld hose flash back arrestors in place

_____ Hoses and torches inspected/good condition

_____ Only strikers used to ignite torches

# Required Safe Work Practices

## Aerial Lifts

General:

Never operate a lift until you have received the proper training.

Obey operating instructions, warnings and cautions for each lift.

Visually inspect the lift before using it and test the controls to ensure that it is in good condition and functioning properly.

Never use a ladder, bucket or other objects to extend your reach.

Never step up on the mid-rail or top rail to extend your reach.

Always keep both feet planted firmly on the floor of the basket.

Use a personal fall restraint system whenever the manufacturer recommends it. The system should include a full-body harness and fall restraint lanyard or fall restraint self-retracting lifeline.

Never attach the lanyard to anything other than the manufacturer’s designated anchorage point on the lift.

Ensure that gates or chains are properly closed and latched.

Enter and exit the platform or basket from the ground level only.

Lift Movement:

Never operate a lift on soft ground or unlevel surfaces.

Lower the basket or platform to the ground before moving the lift.

Never move a lift with the outriggers extended.

Use a spotter to help you back the lift safely.

Operation:

Set the brakes.

Level and stabilize the lift by extending the outriggers.

Check the area carefully for obstructions before positioning the basket or platform.

Never exceed boom or basket load limits.

## Arc Flash & Electrical Shock Protection

General:

Make sure you have the required safety training before working near energized electrical conductors or circuit parts.

For protection from arc flash and electrical shock, maintain flash protection and shock protection boundaries of at least 5 feet from all units or systems pushing 480 volts or less, unless you’re wearing all necessary personal protective equipment.

The shock protection boundary includes any conductive objects you might be carrying. Conductive objects that you’re carrying should never come closer to a unit or system than the established shock protection boundary allows.

If you will be working on units or systems pushing more than 480 volts, check with your supervisor about the required and more protective arc flash and shock protection boundaries before starting work.

Troubleshooting:

When troubleshooting a unit or system pushing 480 volts or less, wear the following personal protective equipment at a minimum:

  - 8-calorie arc-rated long-sleeved shirt and pants;

  - 8-calorie arc-rated balaclava;

  - Safety glasses;

  - Class E hardhat;

  - 8-calorie arc-rated face shield;

  - Class 00 rubber insulated gloves;

  - Protective leather gloves over the rubber gloves;

  - Earplugs; and

  - Leather work boots or shoes.

Once you have completed troubleshooting, de-energize the unit and lockout the source of electricity.

Test the unit or system to be sure the power is off.

Discharge the stored energy, such as the current in the capacitors.

When all this is done and there are no exposed, energized electrical conductors or circuit parts, you can remove your arc flash and electrical shock personal protective equipment unless the unit you’re working on has a built-in interlocking disconnect.

When performing any kind of work on units with built-in interlocking disconnects, never remove any of your arc flash and electrical shock personal protective equipment.

Never remove your safety glasses, no matter what type of unit or system you’re working on.

Re-Energizing:

Once the repairs are completed, be sure to remove all tools, materials and equipment from inside the unit or system.

Close or replace any open doors or panels.

Put all the arc flash and electrical shock personal protective equipment back on.

Remove the lockout device.

Stand to the side of the electrical power source (e.g., panel box, switch, lever).

Re-energize the unit.

## Asbestos

General:

Assume that all building materials installed before 1980 contain asbestos.

When you come across building materials installed before 1980 that would easily crush, crumble or come apart sending particles into the air, leave the area immediately and report the situation to your supervisor.

Working Around Asbestos:

Before working around suspect building materials, make sure you have the proper training and respiratory protection.

Do whatever is necessary (e.g., wet method, respirator use, HEPA ventilation systems) to protect yourself from overexposure.

Wear coveralls and use the appropriate class and type of respirator while working around suspect building materials, unless our company’s sample tests, or air monitoring results indicate no risk of overexposure.

Carefully follow the appropriate decontamination procedure before leaving the worksite, including showering, changing clothes and properly storing contaminated clothing.

## Bloodborne Pathogens

General:

Be aware of bloodborne pathogen hazards when responding to an injury or working in places where human blood or body fluids might be present, such as health care facilities, nursing homes, dental facilities, funeral homes and wastewater treatment plants.

Use the appropriate personal protective equipment (PPE) to prevent human blood and body fluids from contacting your eyes, nose, mouth, or open cuts, punctures or abrasions in the skin. Appropriate PPE includes: safety glasses or goggles, nitrile medical exam gloves and a surgical mask or face shield that covers your nose and mouth.

Thoroughly wash your hands and face with warm, soapy water immediately after exposure to human blood or body fluids.

## Carbon Monoxide

General:

When working around sources of carbon monoxide, ensure that the area is well ventilated.

If the area does not appear to be well ventilated, leave it immediately and seek fresh air. Your senses cannot help you determine whether carbon monoxide is present.

## Common Chemical Substances

General:

Protect yourself from these substances by ensuring that they do not enter your body.

Use the proper personal protective equipment such as gloves, goggles, face shields, aprons and, when necessary, respirators to keep from inhaling, ingesting, injecting or absorbing chemical substances into your body.

## Compressed Air

General:

Before using compressed air for cleaning, ensure there are no hazardous substances that could become airborne when compressed air is released.

Reduce the pressure to less than 30 pounds per square inch (psi) before using compressed air for cleaning.

Wear chip guarding and safety glasses when using compressed air for cleaning.

## Compressed Gas Cylinders

General:

Protect yourself and others from fire, explosion and struck-by hazards caused by inappropriate use or treatment of compressed gas cylinders.

Always keep compressed gas cylinders secured in an upright position.

Close the cylinder valves as soon as work is completed, when cylinders are empty, and before transporting, moving or storing the cylinders.

Before transporting, moving or storing compressed gas cylinders, make sure that the valve protection caps are in place.

Storage:

Store cylinders in a dry, well-ventilated area at least 20 feet from combustible materials.

Store oxygen cylinders at least 20 feet from fuel gas cylinders such as acetylene or separate them with a ½‑hour non-combustible barrier that is at least 5 feet high.

Never store cylinders in gang boxes, lockers or other poorly ventilated areas.

Store gas hoses in dry, well-ventilated areas.

Operational Use:

Keep cylinders away from ignition sources such as sparks, hot slag and flames, or isolate them with fire-resistant shields.

Also keep cylinders away from all sources of electricity, so they will never become part of an electrical circuit.

Keep cylinder valve wrenches in place while the valves are open so they can be shut off quickly if necessary.

Inspect regulators and torches before each use. Do not use them if they appear damaged.

Do not use regulators or torches that appear to be malfunctioning. Immediately follow our company’s procedure for taking defective equipment out of service.

Use only friction lighters to ignite torches.

## Confined Spaces

General:

Find out who has been designated as the “competent person” for the confined space in which you will be working.

Never enter a confined space until your supervisor authorizes you to do so. The space must be tested to determine whether the atmosphere inside is hazardous.

The “competent person” will test for oxygen content, toxic gases and flammable/explosive atmospheres.

Never enter a confined space that has a hazardous atmosphere until you have received the proper training and are wearing the appropriate personal protective equipment (PPE).

Follow all the safe work practices covered in your training, which include information such as proper use of ventilation systems, air monitoring, monitor alarm systems, PPE, emergency egress equipment and procedures, and confined space attendants.

Remember that welding, cutting or any kind of hot work inside a confined space can create a hazardous atmosphere. Use an adequate ventilation system and monitor the air to ensure that the atmosphere is not hazardous.

If a co-worker collapses inside a confined space, do not attempt a rescue unless you have received the proper training and have the equipment you need to perform the rescue safely.

## Cranes and Derricks

General:

Never operate a crane or derrick without the proper qualifications/
certifications.

Prior to Operation:

Check with the designated “competent person” to ensure that appropriate ground preparations have been completed before beginning crane operations.

Make sure that a qualified person has completed the necessary crane or derrick inspections.

Ensure that the signal person and the riggers you will be working with are properly qualified.

Verify that the load capacity of the crane or derrick is posted and visible from the operator’s station.

Operation:

Extend the outriggers before lifting a load.

Rope off or barricade the space 360 degrees around the swing radius of the rotating superstructure.

Never exceed the load capacity.

Operate the crane or derrick only on firm, level ground. Use mats whenever necessary, and especially when lifting extremely heavy loads.

Make sure that the boom point is centered directly over the load for rigging.

Ensure that no part of any crane comes closer than 10 feet from a power line rated 50 kilovolts (kV) or below; and 10 feet plus 0.4-inch for each kV over 50 kV for lines rated over 50 kV, or twice the length of the line insulator.

## Damaged Equipment

General:

Carefully inspect all equipment before each use.

If you don’t see damage, test the equipment to determine whether it is functioning properly.

If you do see damage, or if the equipment is not functioning properly, immediately follow our company’s procedure for taking defective equipment out of service.

Identify the equipment as unsafe to use by locking or tagging out the controls, or by tagging and physically removing the equipment from the jobsite.

## Electrical Safe Work Practices (General)

General:

Implement all safe work practices necessary to protect yourself from electrocution, shock, burns, arc flashes and arc blasts.

Before Starting Work:

Use a ground fault circuit interrupter (GFCI) and/or an assured equipment grounding conductor program for all 120-volt, single phase, 15- and 20-amp receptacle outlets that are not part of the permanent wiring of the building or structure.

Make sure your assured equipment grounding conductor program covers all cord sets, receptacles and equipment connected by cords and plugs.

When using double insulated tools or appliances in place of grounded tools or appliances, make sure they are clearly marked as double insulated. Look for the words “Double-Insulated” or the double insulation symbol, which is a small square inside a larger square.

Verify that the extension cord you will be using is rated to accept the maximum current (amps) pulled by the portable power tool you will be operating.

Carefully inspect all tool and equipment cords, extension cords and plugs for damage and excessive wear such as broken, cut, frayed or abraded insulation, broken or exposed wires, and missing ground terminals.

When you come across damaged electrical cords, tools or equipment, immediately follow our company’s procedure for taking defective equipment out of service.

Never attempt to repair a damaged cord with electrical tape or any other materials.

Make sure that portable lights in wet or otherwise conductive locations such as tanks or boilers are protected by a ground fault circuit interrupter (GFCI), or make sure they are pulling no more than 12 volts.

Do not suspend temporary lights by their cords unless they are designed specifically for that purpose.

While Working:

Protect extension cords and tool and equipment cords from damage due to vehicle traffic, sharp building materials, pinch points such as doorways, and other potential sources of damage.

Never attach extension cords to objects with staples, hang them from nails or suspend them from wire.

## Fall Prevention & Protection

General:

When you could potentially fall more than 4 feet to a lower level, make sure you are protected by a guardrail system, personal fall arrest system or hole covers. This 4-foot rule does not apply to ladders or scaffolds.

Ensure that elevated ramps, runways and other walkways that are 4 feet or more above a lower level have guardrail systems in place.

Before stepping on elevated walking/working surfaces, make sure they have the strength and structural integrity to support the full weight and force of the workers, equipment and materials that could be placed on them.

Railings:

Make sure that the top edge members of railings are 42 inches above the walking/working surface.

Check that intermediate rails are between the top edge members and the walking/working surface.

Make sure that toeboards are installed to keep tools and materials from falling to a lower level.

Inspect the system to ensure that it can withstand 200 pounds of force in any outward or downward direction.

When any part of a guardrail system must be removed to facilitate materials handling, and you could potentially fall through the opening when working near it, use a personal fall arrest system.

Personal Fall Arrest Systems:

When using a personal fall arrest system, verify that you have all appropriate system parts:

  - Anchorage point (must be a point that is not being used to support or suspend a platform, and which can support at least 5,000 pounds of force for each worker tied off to it);

  - Connectors;

  - Full-body harness; and

  - Lanyard (with built-in deceleration feature) or self-retracting lifeline (SRL).

Use any suitable combination of these system parts listed above.

Only use locking snaphooks.

Get the proper training before using this system.

Hole Covers:

Use hole covers on holes in floors, roofs and other walking/working surfaces only when the holes are small enough to be safely covered.

Make sure hole covers can safely support twice the aggregate weight of the workers, equipment and materials that could be placed on them.

## Fire Prevention & Protection

General:

Smoke only in designated smoking areas.

Be familiar with all fire exits and fire alarms.

Remove combustible items from your work area frequently.

Dispose of oily, greasy or paint-soaked rags or towels only in approved metal containers with self-closing lids.

Keep solvents and other flammable/combustible materials in approved, properly labeled containers, and store them in a proper location.

Keep ignition sources such as sparks, flames and excessive heat away from solvents and other flammable/combustible materials.

Turn off internal combustion engines used to power vehicles, generators or other equipment before refueling.

Report fire hazards to your supervisor immediately.

Know how to quickly access emergency telephone numbers and the nearest telephone.

Fire Protection Equipment:

Make sure that firefighting equipment is easy to locate and readily accessible.

Ensure that you can quickly and easily access a Class ABC fire extinguisher from all work areas.

Keep a Class ABC fire extinguisher readily accessible when welding, torch cutting, brazing, soldering, grinding and in other hot work areas.

In Case of Fire:

Warn others in the area about the fire.

Attempt to extinguish smaller fires with the proper fire extinguisher.

If the fire is large, sound the fire alarm immediately and evacuate the building or structure.

Call the fire department and give accurate directions to the fire.

Post someone to meet the fire department and direct them to the fire.

Cut off electrical power, but only if it is safe to do so.

## Flammable/Combustible Liquids/Materials

General:

Store flammable/combustible liquids in approved, properly labeled containers with self-closing lids.

Never use flammable liquids within 50 feet of an ignition source.

Never store more than 25 gallons of a flammable/combustible liquid in a room outside of an approved storage cabinet, and never allow more than three storage cabinets in a single storage area.

Keep flammable/combustible liquids in closed containers when not in use.

Store flammable/combustible waste materials in approved containers with self-closing lids, and properly dispose of the waste regularly.

Storage Cabinets:

Use only approved storage cabinets designed specifically for flammable/combustible liquid storage.

Make sure that storage cabinets for flammable/combustible liquids are labeled as follows: “FLAMMABLE – KEEP FIRE AWAY.”

Check the Safety Data Sheets (SDS) to determine whether liquids are potentially flammable or combustible.

Ensure that no more than 60 gallons of a flammable liquid or 120 gallons of a combustible liquid are stored in a single cabinet.

Inside Storage:

Do not smoke around flammable materials storage areas.

Before storing flammable/combustible materials inside a building, make sure the building is fire resistant, has self-closing doors at all openings, and has at least 4-inch-high sills or depressed floors. Also, be sure the electrical wiring and equipment are approved for flammable materials storage areas.

Make sure the ventilation system is providing complete air exchanges at least 6 times an hour.

Outside Storage:

Ensure that flammable/combustible materials are stored to allow a 12-foot-wide access way for emergency fire control equipment.

Do not store flammable/combustible materials near areas used for exits or near stairways.

Stack combustible materials in piles no more than 20 feet high.

Make sure outdoor storage containers contain no more than 60 gallons of flammable/combustible liquids and that no more than 1,100 gallons are stored in any one area.

Ensure that stacks of flammable/combustible materials are separated by at least 5 feet and are stored at least 20 feet from a building.

Make sure that outside storage areas for flammable/combustible liquids are graded or diked so that a spill would be diverted away from the building.

Do not smoke in outside flammable/combustible storage areas.

Liquified Petroleum (LP) Gas Storage:

Ensure that “NO SMOKING” signs are displayed on LP storage tanks.

Turn off equipment before fueling.

Protect LP gas tanks from vehicular traffic.

Ensure that all electrical connections, including pumps and switches, are vapor and explosion proof.

## Grinding

General:

Verify that there are guards in place on your bench and stand grinders before using them.

Ensure that the adjustable work rest is in place on bench and stand grinders, and that the rest adjustment does not exceed a clearance of 1⁄8-inch from the surface of the abrasive wheel.

Ensure that your portable grinder has guards in place unless the grinding wheel is 2 inches or less or is completely inside the work.

Ensure that the guards cover spindle ends, nuts and flange projections.

Make sure the guards are strong enough to withstand the force of a bursting abrasive wheel by using only those guards provided by the equipment manufacturer.

Before mounting any abrasive wheel, inspect it carefully and ring test it to ensure that it is not defective.

Check that abrasive wheels are properly matched to the RPM rating of the grinder, so the wheel or disk does not shatter.

Wear safety glasses and a face shield when grinding.

Turn off portable grinders and let the moving parts stop before putting the grinder down.

## Hand & Power Tools

General:

Never bypass a tool manufacturer’s safety guard or device.

Carefully follow the tool manufacturer’s instructions for maintenance and tool repair.

Keep all tools clean and in good condition.

Carefully inspect all tools before using them.

If you see damage, immediately follow our company’s procedure for taking defective equipment out of service.

Use only the proper size and type of tool for each job.

Never use impact tools such as drift pins, wedges and chisels if they have mushroomed heads.

Power Tools:

Before servicing power tools, make sure to unplug or otherwise de-energize them.

Do not use electrical cords to raise or lower tools from one level to another.

Never yank on an electrical cord to unplug it. Grasp the plug and carefully remove it from the receptacle.

Ensure that point of operation guards are properly in place before using the tool.

Make sure your tools are properly grounded or double insulated before using them. To determine whether a tool is double insulated, look for the words “Double Insulated” or look for the double insulation symbol, which is a small square inside a larger square.

Check that the power switch is in the “off” position before plugging in any tool.

Carefully inspect the insulation on electrical cords, including extension cords and welding leads. If insulation is damaged, immediately follow our company’s procedure for taking defective items out of service.

Use a ground fault circuit interrupter (GFCI) when operating power tools in damp locations.

Keep moving parts away from your body.

Ensure that your power tool is off and moving parts have stopped before putting it down.

## Hazard Communication

General:

Understand that you have the right to know about hazardous chemicals that you could be exposed to on a jobsite.

Pay close attention to your hazard communication training, so you will know how to work safely around hazardous chemicals.

Request a copy of our company’s written hazard communication program and read it carefully. Make sure you know where the program is filed on the jobsite and how to access it quickly.

Know where to quickly access Safety Data Sheets (SDS) on the jobsite and be sure you can find them quickly.

Learn how to read an SDS. The most important parts of an SDS:

  - Identify the substance (section 1);

  - Describe the hazards associated with the substance (section 2);

  - Describe first aid procedures in case of exposure (section 4); and

  - Describe how to protect yourself from the hazards (section 8).

Learn how to read hazard warning labels.

Labeling:

Make sure that all containers are properly labeled. The only exception to this rule is when you transfer a chemical substance into a secondary container and the substance will be used immediately and entirely. When in doubt, label the container.

Learn the required safety components for chemical container labels, which include:

Hazard Statement—A hazard statement is a statement assigned to a specific hazard class and category that describes the nature of the hazard;

Precautionary Statement—A precautionary statement is a phrase that describes the recommended measures to be taken to minimize or prevent adverse effects resulting from exposure to a chemical, or improper storage or handling of a hazardous chemical;

Signal Words—A signal word is one word used to indicate the severity of hazard and alert the reader to a potential hazard. The required signal words are “Danger” or “Warning.” “Danger” is used for more severe hazards. “Warning” is used for less severe hazards; and

Pictograms—A pictogram is a symbol and other graphic elements intended to convey specific information about the hazards of a chemical. There are eight pictograms required for labels by the Occupational Safety and Health Administration (OSHA). The environment pictogram is not required since environmental issues fall outside of OSHA’s jurisdiction.

## Hexavalent Chromium

General:

Get the proper training before working around hexavalent chromium.

Check with your supervisor before you begin hot work on stainless steel to ensure that a hexavalent chromium exposure assessment has been completed.

Use the ventilation that is provided and make sure it is working properly.

Position your welding hood so welding fumes will not rise under it.

If respiratory protection is required, be sure you have the required training and proper respirator before starting work.

## Housekeeping

General:

Keep materials in the work area properly organized.

Regularly dispose of scrap materials and trash as the work progresses each day.

Focus on keeping slip and trip hazards away from stairways, walkways, ladder platforms, scaffolds and similar areas.

Do not leave tools lying around. When not using them, put them in your tool belt, bucket or toolbox.

Put your tools away in a job box as soon as you are finished with them for the day.

Whenever possible, keep hoses, power cords, welding leads and other trip hazards from lying across heavily traveled work areas or walkways.

Regularly dispose of greasy or oily rags and other combustible materials in approved containers with self‑closing lids.

## Ladders

General:

Get ladder safety training before using any ladder.

Carefully inspect each ladder before use.

If you discover any defects, do not use the ladder. Immediately follow our company’s procedure for taking defective equipment out of service.

Never exceed the ladder’s maximum load capacity.

Use ladders only on level surfaces.

Always face the ladder when climbing up or down and maintain a constant three-point contact (e.g., two hands and one foot or two feet and one hand on the ladder).

Never carry tools, materials or equipment in your hands when climbing up or down a ladder.

Never reach out too far from a ladder. Get down and move it so you won’t have to reach too far.

Make sure that all ladders are used only for their intended purpose.

Use ladders with non-conductive side rails, especially when working near sources of electricity.

Do not let ladders contact overhead power lines.

Do not use painted ladders—paint can hide ladder defects.

Protect ladders in doorways and passageways so they will not get bumped or knocked over.

Portable Straight Ladders:

Set straight ladders on a firm, level and substantial base.

Secure the ladders in place.

In addition to securing the ladders, use slip-resistant feet on slippery surfaces.

Ensure that the base (foot) is pitched out from the vertical plane of its top support ¼ the length of the ladder, measured from the ground at the foot of the ladder to the top support.

When using a ladder to access an upper level, make sure that it extends at least 3 feet above the landing surface.

Never climb higher than the third rung from the top of a straight ladder.

Portable Stepladders:

Open stepladders fully and lock them in the open position before using them.

Never use a stepladder as a straight ladder.

Do not climb higher than the second rung from the top of a stepladder.

## Liquified Petroleum (LP) Gas

General:

Check containers, valves, connectors, manifold valve assemblies and regulators to ensure they are the proper system components.

Make sure that each container and vaporizer has approved safety relief valves.

Verify that LP gas cylinders have an excess flow valve to minimize the flow of gas if the fuel line becomes ruptured.

Never store LP gas inside buildings.

Make sure there is a Class ABC fire extinguisher wherever LP gas is stored.

## Lockout/Tagout

General:

Make sure that you have the proper training on lockout/tagout before you use the method, and before you work where others could be using it.

Lockout sources of uncontrolled energy so they cannot be unexpectedly released when servicing or performing repairs or maintenance work on machines, power tools or equipment.

On the rare occasion where it is not possible to use a lockout device, use an appropriate warning tag in place of the lock.

## Manganese

General:

Before beginning a welding operation, always determine whether the welding rods you’ll be using contain manganese by checking the appropriate Safety Data Sheet (SDS) and looking at the ingredients in Section 3.

Operation:

Make sure the affected work area is well ventilated.

If necessary, use portable blowers or fans to improve ventilation in the affected area.

If you can’t get the area properly ventilated, you may need to wear a respirator. Before starting the work, check with your supervisor to determine whether respiratory protection is needed.

Before starting to work while wearing a respirator, you’ll need to pass a medical evaluation, receive proper respiratory protection training and be fit tested to ensure that the respirator you’ll be using is sufficiently effective.

## Noise

General:

When the noise level exceeds the point that you can’t understand a normal, conversational speaking voice within 3 feet of where you’re working, the noise level may be excessive and potentially harmful.

Operation:

When working with power tools or near equipment that could generate excessive noise, be sure to use hearing protection, such as earplugs or earmuffs.

Choose hearing protection that is comfortable to use.

When using earplugs, make sure they are clean.

Be sure to replace disposable earplugs immediately after use and replace them with new ones the next time you need them.

Select hearing protection with a suitable noise reduction rating (NRR), but which does not prohibit you from hearing a warning alarm or another person’s warning shout.

When choosing hearing protection devices, check the packaging to determine the NRR.

Use a noise level meter or noise dosimeter to determine the noise level.

If measuring instruments are not available, gauge the noise level based on the noise levels of tools, machinery or equipment that you are familiar with, such as:

  - Air Compressors—around 90 decibels;

  - Circular Saws—around 100 decibels;

  - Gas Powered Lawnmowers—around 100 decibels; or

  - Gas Powered Chain Saws—around 100 decibels.

Make sure that the hearing protection you choose will reduce the noise level to an acceptable range based on the length of time you anticipate being exposed to it.

Never exceed noise levels based on the following exposure duration information:

| Hours / Day | Decibels |
| --- | --- |
| 8 | 90 |
| 6 | 92 |
| 4 | 95 |
| 3 | 97 |
| 2 | 100 |
| 1½ | 102 |
| 1 | 105 |
| ½ | 110 |
| ¼ | 115 |

## Personal Protective Equipment

Body Protection:

Wear flame-resistant, long-sleeved shirts and pants.

Wear an approved coverall or apron when welding or flame torch cutting.

Wear 8-calorie arc-rated clothing, including a balaclava, when working around exposed energized electrical conductors or circuit parts that are pushing 50 to 480 volts.

When working where voltage exceeds 480 volts, check with your supervisor for additional training and the appropriate personal protective equipment.

Eye and Face Protection:

Always wear approved safety glasses or goggles on the jobsite, unless you are in a trailer or protected office.

Wear a face shield to protect your face from flying particles, grinding sparks, chemical splashes and other potential hazards.

Wear an 8-calorie arc-rated face shield when working around exposed energized electrical conductors or circuit parts that are pushing 50 to 480 volts.

When working where voltage exceeds 480 volts, check with your supervisor about any additional training or personal protective equipment you may need.

Always wear safety glasses under your face shield or welding helmet.

Make sure that you have the properly shaded lens or lenses when exposed to radiant energy (light), such as when welding, torch cutting, soldering or brazing.

Hand Protection:

Wear the proper gloves when moving materials or working with sharp objects or material such as sheet metal.

Wear the proper type of impermeable gloves for work around chemicals.

Wear Class 00 rubber insulated gloves when working around exposed energized electrical conductors or circuit parts that are pushing 50 to 480 volts. Wear leather protective gloves over the rubber gloves.

When working where voltage exceeds 480 volts, check with your supervisor for additional training and the appropriate personal protective equipment.

Head Protection:

Wear a Class E hardhat when working around exposed energized electrical conductors or circuit parts that are pushing 50 to 480 volts. When working where the voltage exceeds 480 volts, check with your supervisor for additional training and the appropriate personal protective equipment.

Hearing Protection:

Wear approved earplugs or earmuffs whenever you are exposed to loud noise. The noise level next to an operating air compressor or circular saw is too loud to safely endure over extended time without hearing protection. If you cannot hear someone speaking in a normal tone 3 feet or less away from you, consider using hearing protection.

If you are unsure about the noise level in your work area, wear the approved hearing protection.

Respiratory Protection:

Ensure you have the proper respiratory protection training before using any respirator.

Request a copy of our company’s respiratory protection program and follow it closely.

Participate in the respirator selection process to ensure you are using the proper type and class of respirator.

Only use respirators approved by the National Institute for Occupational Safety and Health (NIOSH). Look for “NIOSH” on the respirator.

Go through a formal respirator fit testing process to select a properly fitting respirator.

Where applicable, conduct a negative and positive pressure check each time you put on a respirator, and before you enter the contaminated area. If either test fails, do not use the respirator. Report to your supervisor immediately for another formal fit test.

## Pneumatic Tools

General:

Check the manufacturer’s safe operating pressure for each tool or fitting before using it.

Never exceed the established safe operating pressure for the tool or fitting.

Properly secure the hose to the compressor before attaching the tool or fitting.

Properly secure tools to their hoses before using them.

Use safety clips or retainers on pneumatic impact tools to keep the attachments from being expelled.

Ensure that the system is equipped with a pressure reduction device at the source of supply or branch line when hoses exceed ½ inch in diameter.

## Refrigerants

General:

Some refrigerants used in the mechanical service industry are flammable and/or toxic.

The American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) has established a safety group classification system to help you identify hazardous refrigerants.

Safety Group Classification System:

Class A refrigerants have an Occupational Exposure Limit of 400 parts per million or greater

Class B refrigerants have an Occupational Exposure Limit of less than 400 parts per million

Class (1) Refrigerants show no flame propagation when tested at 1400 F and 14.7 psia.

Class (2) refrigerants show lower flammability levels.

Class (2L) refrigerants show lower flammability levels, and lower maximum burning velocities

Class (3) refrigerants show higher flammability levels.

Common Refrigerants:

The following is a list of the most common refrigerants used in our industry

at present. Some of them are no longer available, but you may still encounter them in exiting air conditioning or refrigeration systems. If you’ll be exposed to a refrigerant that is not listed here, look for the safety group classification on the container, or obtain a Safety Data Sheet to determine the toxicity and flammability level of the refrigerant.

Low Toxicity Refrigerants with No Flame Propagation:

R11 (A-1)

R12 (A-1)

R22 (A-1)

R113 (A-1)

R134a (A-1)

R404A (A-1)

R407C (A-1)

R410A (A-1)

R500 (A-1)

R502 (A-1)

R507A (A-1)

R744 (A-1)

Low Toxicity Refrigerants with Lower Flammability and Lower Maximum Burning Velocity:

R454A (A2L)

R455A (A2L)

R1234yf (A2L)

Low Toxicity Refrigerants with Higher Flammability:

R290 (A-3)

R600A (A-3)

Higher Toxicity Refrigerant with No Flame Propagation:

R123 (B-1)

Higher Toxicity Refrigerant with Lower Flammability and Lower Maximum Burning Velocity:

R717 (B2L)

## Rigging and Materials Handling

General:

Check weather conditions before deciding when to lift a load.

Check the area for power lines and other obstructions.

Check the load capacities, operating speeds and other instructions before using hoists or rigging equipment.

Rig the load so that it will be lifted straight up.

Guide the operator to place the boom directly over the load.

Keep your hands away from pinch points when the lift starts.

Always stay out from under the load.

Use tag lines to control the load.

Watch the placement of your feet when receiving a load.

Give the stop signal immediately if anything appears unsafe.

Alloy Steel Chain Slings:

Carefully inspect each sling before use.

If you see stretching, excessive wear, nicks and/or gouges, immediately follow our company’s procedure for taking defective equipment out of service.

Look for a permanently attached identification tag on each sling stating the size, grade, rated capacity and the name of the sling manufacturer. If the identification is not attached, immediately follow our company’s procedure for taking defective equipment out of service.

Wire Rope Slings:

Carefully inspect each sling before use.

If you see signs of wear such as crushed sections, corrosion, kinking and/or an excessive number of broken wires, immediately follow our company’s procedure for taking defective equipment out of service.

  - A rope is defective if:

  - There are 5 or more broken wires in 1 rope lay; and/or

  - There are 3 or more broken wires in 1 strand of 1 rope lay.

  - Check the manufacturer’s stated load capacities before using any sling.

Never exceed the sling’s load capacity.

Install wire rope clips properly. Use the correct size and number of clips.

Never install U-bolts on the live end of the wire rope. The live end is where the saddle goes, so remember, “never saddle a dead horse.”

Natural Rope and Synthetic Fiber Slings:

Carefully inspect each sling before use.

If you see abnormal wear, powdered fibers between strands, broken fibers, variations in the size of the strands, variations in the roundness of strands, discoloration or rotting, and/or distortion of hardware in the sling, immediately follow our company’s procedure for taking defective equipment out of service.

Check the manufacturer’s stated load capacities before using the slings. Never exceed the sling’s load capacity.

Ensure that any splices made to rope slings are in complete accordance with the manufacturer’s recommendations.

Synthetic Webbing:

Carefully inspect each sling before use.

If you see acid or caustic burns, melting or charring of any part, snags, punctures, tears or cuts, broken or worn stitches, and/or distortion of fittings, immediately follow our company’s procedure for taking defective equipment out of service.

Check for marks or codes on each sling that state the name of the manufacturer, its trademark, the rated capacity for the type of hitch, and the type of material. If this information is not shown, immediately follow our company’s procedure for taking defective equipment out of service.

Sling Angles:

Verify that each sling can support the load based on the projected horizontal angle of the sling during the lift.

Determine the sling tension before the lift to ensure that it can support the load.

Materials Storage:

Make sure that all materials stored in tiers are secured to prevent sliding, falling or collapse.

Never store materials in passageways or aisles, or where they could obstruct exits.

Don’t stack materials so high that they could fall.

Ensure that pipe that is not on a rack is stacked and blocked, so it won’t spread.

Never place materials within 6 feet of any hoist areas or floor opening, or within 10 feet of an unfinished exterior wall inside unfinished buildings.

Store materials safely based on their flammability and/or combustibility characteristics.

Manual Material Handling:

Have materials delivered as close to your work area as possible.

Have the materials staged at waist level to reduce bending.

Use material moving equipment whenever possible.

Use proper lifting techniques when you must lift something.

Manual Lifting Techniques:

Start by getting your body as close to the object as possible.

Position your feet and get a good grip on the object.

Keep your butt down and your head up to retain the natural curves of your back.

Lift straight up with a slow, steady movement, letting your legs do the work.

Never twist or turn your torso with your feet planted.

When you turn, move your feet and body without twisting.

When placing an object, reverse the order, remembering to keep your butt down and your head up.

## Signs, Signals & Barricades

General:

Constantly look for warning signs, signals and barricades while working.

Obey the signs and signals and avoid barricades, remembering that all are there for your protection.

If you are responsible for installing signs, signals or barricades, ensure they are clearly visible and legible.

Always remember that:

  - Danger signs refer to immediate/imminent hazards.

  - Caution signs refer to potential hazards or caution you against unsafe work practices.

  - Safety instruction signs are there for injury/incident prevention. They are usually placed around jobsites in strategic locations.

  - Notice signs are used for instructional purposes and are also placed around jobsites in strategic locations.

  - Accident prevention tags are temporary warning tags usually placed on defective tools or equipment or used to tagout sources of uncontrolled energy that cannot be locked out.

## Vehicle Safety

General:

Vehicle safety in the mechanical service industry addresses:

  - Vehicle inspections;

  - Defensive driving;

  - Seat belt use;

  - Distracted driving; and

  - Driving under the influence of drugs and/or alcohol.

Vehicle Inspections:

Always be sure that the vehicle you’re using is in good, safe operating condition.

Make sure the vehicle receives scheduled maintenance according to the manufacturer’s recommendations.

Inspect the vehicle yourself on a regular basis. At a minimum, make sure the:

  - Tires are in good condition;

  - Tires are properly inflated;

  - Headlights, taillights, brake lights, turn signals, back up lights and other lights are working properly;

  - Windshield wipers are working properly, and wiper blades are in good condition;

  - Windshield washer fluid container is full;

  - Vehicle’s braking system is working properly, including the parking brake;

  - Back up alarm and horn are working properly; and

  - Mirrors are in good condition and properly adjusted.

Any time you find something wrong with the vehicle, or if it doesn’t appear to be working properly, don’t use it. Follow our company’s procedures for having the vehicle repaired.

Defensive Driving:

Be aware of road conditions and the drivers around you 100% of the time you’re behind the wheel.

Pay close attention to the type of road surface you’re traveling on, the weather, the amount of light and the amount of traffic.

Consider the maneuverability of the vehicle you’re driving, including the weight, center of gravity and minimum stopping distance needed based on current road conditions.

Monitor the vehicles around you and the traffic flow, such as the types of vehicles on the road, the time of day, the speed of the traffic in the area, and the distances between vehicles in traffic.

Think about what is going to occur, or what could occur, as far ahead of the encounter as possible.

With good road conditions you should be at least 4 seconds behind the vehicle in front of you. Allow more time/distance when road conditions are bad.

Think about any driving adjustments you may have to make before the anticipated encounter occurs.

Adjust your lane, speed and following distance accordingly.

Take whatever action is needed well ahead of time to minimize the need for quick evasive action on the road.

Seat Belt Use:

Make sure you wear your seat belt 100% of the time regardless of:

  - How short the distance that you’ll be traveling;

  - How slow you will be traveling; and

  - Whether you’re the driver or a passenger in the vehicle.

Distracted Driving:

Refuse to send or receive text messages while driving.

Never take your eyes off the road to look at a GPS system’s map or route while driving.

Do whatever it takes to limit cell phone use while driving.

If you must use your cell phone while driving, use a hands-free device.

Pre-program your cell phone so frequently used numbers are on speed dial.

Don’t make calls while driving that require you to write down or memorize information or calls that require a lot of concentration.

Pre-program vehicle sound systems before starting to drive.

Don’t try to retrieve a dropped or fallen object while driving, unless it could interfere with your brake pedal, clutch or accelerator.

Driving Under the Influence of Drugs and/or Alcohol:

Before operating a motor vehicle, read the labels on all over the counter and/or prescription drugs that you’re taking to identify any potential side effects that could affect your ability to drive safely.

Never combine prescription and/or over-the-counter drugs without first checking with your health care provider or pharmacist. Ask specifically whether you can safely operate a motor vehicle while combining the drugs.

Be diligent about not operating motor vehicles while under the influence of alcohol, illegal drugs, or over the counter or prescription drugs with potential side effects that could influence your ability to drive safely.

## Welding, Cutting & Heating

General:

Protect yourself from welding, cutting and brazing hazards by getting familiar with the associated hazards and learning the safe work practices established for worker protection.

Always wear the appropriate eye protection with the proper shade of lens or lenses.

Always have an appropriately sized Class ABC fire extinguisher readily available when welding.

Be sure not to strike an arc or ignite a torch where flammable/
combustible materials or chemicals are present.

Electric Arc Welding and Cutting:

Select cables that are capable of safely handling the maximum current requirements of the work.

Use only manual electrode holders that are specifically designed for arc welding and cutting.

Carefully inspect the welding cables, electrode holders and any other current-carrying parts to ensure that they are properly insulated and in good condition. If any parts are damaged, immediately follow our company’s procedure for taking defective equipment out of service.

Do not use damaged cables until they have been spliced or repaired by a properly qualified person.

If a cable has been spliced or repaired, never use it within 10 feet of the electrode holder, unless the material used for the repair has the same or better insulating characteristics than the original insulation.

Ensure that the ground return cable can safely carry the specified maximum amount of current generated by the arc welding unit.

Before starting to weld each day, check all ground connections to ensure they are properly connected and have suitable capacity for the specified maximum current.

Never place an electrode against a cylinder to strike an arc.

Always attach the work cable directly to the work or worktable and as close to the weld as practical.

Gas Welding and Cutting:

Carefully inspect cylinder valves, regulators, hoses and torches before making any connections. If you see any damage, immediately follow our company’s procedure for taking defective equipment out of service.

Inspect hoses and torches at the start of each work shift.

Before connecting the regulators, stand to the side of the fuel gas cylinder valve, open it, and close it quickly (cracking). Repeat the process with the oxygen cylinder.

When cracking a fuel gas cylinder or an oxygen cylinder, make sure the escaping gases will not be affected by sparks, flames or other ignition sources.

Make sure that you can easily tell the difference between fuel gas hoses and oxygen hoses.

Ensure that it is physically impossible to connect hoses, regulators and torches to the incorrect equipment by using incompatible fittings.

Inspect the regulators, hoses, torches and all their connections again after they are connected, and the gas has been turned on. Check carefully for leaks and never use leaking equipment.

Use only friction lighters to light torches.

Ventilation:

Always ensure there is adequate ventilation before you start welding or

- cutting operations.

Use adequate local ventilation and the appropriate respirator when performing hot work on zinc, lead, chromium, cadmium, mercury, or beryllium bearing-based or coated materials, or stainless steel (hexavalent chromium) unless our company’s risk assessment shows no risk of overexposure.

Inert Gases:

Always ensure that the oxygen content in the work areas is adequate when purging a system with inert gases, such as argon and nitrogen.

Inert gases displace oxygen and can result in asphyxiation, including suffocation.

## Zinc

General:

When performing hot work on galvanized metals, be sure to protect yourself from overexposure to zinc oxide.

Operation:

Make sure the work area is well ventilated.

Use a point-of-operation ventilation system, such as a welding fume extractor, whenever it is available.

Always position your welding helmet so that the fumes can’t rise underneath it.

If our company’s zinc oxide exposure assessment shows that you could be overexposed without respiratory protection be sure to wear an appropriate respirator.

Before starting to work while wearing a respirator, you’ll need to pass a medical evaluation, receive proper respiratory protection training and be fit tested to ensure that the respirator you’ll be using is sufficiently effective.

Mechanical Contractors Association of America, Inc.

1385 Piccard Drive Rockville MD 20850 T 301 869 5800 F 301 990 9690 MCAA.ORG