Revision Record

| DATE | REVISION # | APPROVED BY | DESCRIIPTION |
| --- | --- | --- | --- |

All revisions must be approved by WW Gay Safety Officer

TABLE OF CONTENTS

1.0	  PURPOSE AND SCOPE	5

2.0	  DEFINITIONS	5

3.0	  RESPONSIBILTIIES	7

3.1	 Project Manager	7

3.2	  Foreman	7

3.3  	Competent Person(s):	8

3.4  	Employees	8

4.0	general requirememts	8

4.1  	Surface Encumbrances	8

4.2  	Temporary Spoil	8

4.3 	Surface Crossing of Trenches	9

4.4  	Ingress and Egress	9

4.5  	Exposure to Falling Loads	9

4.6	  Hazardous Atmospheres and Confined Spaces	9

4.7  	Standing Water and Water Accumulation	10

5.0 	SOIL CLASSIFICATIONS	10

5.1 	Soil Types	11

5.1.1	Stable Rock	11

5.1.2	Type A Soil	11

5.1.3	Type B Soil	11

5.1.4	Type C Soil	11

6.0	 SOIL TESTING	12

6.1 	Visual Tests	12

6.2	 Manual Tests	13

7.0	 protective systems	14

7.1	 General	14

7.2 	Sloping and Benching Systems	15

7.3	 Shielding Systems	17

7.4	 Shoring Systems	17

8.0	 INSPECTIONS	17

9.0 	Dig authorization procedure	17

10.0	 Potential Subsurface Hazards	18

11.0	 PROCEDURE	19

11.1	 Requirements	19

11.1.1	Dig Authorization Request	19

11.1.2	Dig Authorization Approval	19

11.1.3	Pre-Construction Meeting	20

11.2	Task Summary	20

11.2.1	Responsible Person	20

11.2.2	Plant/facility Dig Authority	21

12.0	 Dig authorization request form	22

12.1	Field Descriptions	22

12.1.1	Dig Authorization #	22

12.1.2	Responsible Person	22

12.1.3	Telephone Numbers	22

12.1.4	Plant Dig Authority	22

12.1.5	Dig Location	22

12.1.6	Work Description	22

12.1.7	Extent of Work	22

12.1.8	Contractor/Vendor Safety Briefing	22

12.1.9	Pre-Construction Meeting	22

12.1.10	Meeting Attendees	22

12.1.11	Notification of Safety Rep:	23

12.1.12	Plant Reviewer	23

12.1.13	Drawing #s Reviewed	23

12.1.14	Drawings Reviewed By	23

12.1.15	Excavator	23

12.1.16	Area Premarking	23

12.1.17	Special High Risk Requirements	23

12.1.18	Tool Grounding	23

12.1.19	Utility Isolation & Marking	23

12.1.20	Dig Area Identification	23

12.1.21	Identified or Known Hazards	23

12.1.22	Work Area Scanned By	24

12.1.23	uNDERGROUND fACILITY pROTECTION Confirmation #	24

12.1.24	Authorized Start Date	24

12.1.25	Responsible Person Signature	24

12.1.26	Plant Dig Authority Approval Signature	24

13.0	 Sunshine State One Call of Florida	24

14.0	 TRAINING	27

THIS PAGE INTENTIONALLY LEFT BLANK

# 1.0	 	PURPOSE AND SCOPE

The purpose of this procedure is to establish minimum requirements for practices and procedures to protect employees from cave-in or earth collapse when working in trenches and excavations.

This procedure applies to all employees and subcontractors performing excavation and/or trenching work for WW Gay.

# 2.0	 	DEFINITIONS

Aluminum Hydraulic Shoring - means a pre-engineered shoring system comprised of aluminum hydraulic cylinders (cross braces) used in conjunction with vertical rails (uprights) or horizontal rails (wales). Such system is designed specifically to support the sidewalls of an excavation and prevent cave-ins.

Authorized Workers - Personnel who have attended the pre-construction meeting and are listed as authorized workers on the dig authorization form. They must understand the general safety concerns associated with subsurface work projects.

Bell-bottom Pier Hole - means a type of shaft or footing excavation, the bottom of which is made larger than the cross section above to form a belled shape.

Benching (Benching System) - means a method of protecting employees from cave-ins by excavating the sides of an excavation to form one or a series of horizontal levels or steps, usually with vertical or near-vertical surfaces between levels.

Cave-in - means the separation of a mass of soil or rock material from the side of an excavation, or loss of soil from under a trench shield or support system, and its sudden movement into the excavation, either by falling or sliding, in sufficient quantity so that it could entrap, bury, or otherwise injure and immobilize a person.

Competent Person - means one who is capable of identifying existing and predictable hazards in the surroundings, or working conditions which are unsanitary, hazardous, or dangerous to employees, and who has authorization to take prompt corrective measures to eliminate them.

Cross Braces - mean the horizontal members of a shoring system installed perpendicular to the sides of the excavation, the ends of which bear against either uprights or wales.

Excavation - means any man-made cut, cavity, trench, or depression in an earth surface, formed by earth removal.

Faces or Sides - means the vertical or inclined earth surfaces formed as a result of excavation work.

Hazardous Atmosphere - means an atmosphere which by reason of being explosive, flammable, poisonous, corrosive, oxidizing, irritating, oxygen deficient, toxic, or otherwise harmful, may cause death, illness, or injury.

Kickout - means the accidental release or failure of a cross brace.

Plant/Facility Dig Authority - The Plant/Facility Dig Authority is a person designated to issue Plant Dig authorization numbers. The Plant/Facility Dig Authority must be able to research and understand all information being supplied by the Responsible Person when the request for dig authority is made. A technical understanding of subsurface work procedures and potential risks is also a prerequisite.

The Plant/Facility Dig Authority should also be capable of providing research assistance to the Responsible Person whenever needed, such as assisting with locating and reviewing plant engineering drawings. In addition, the Plant/Facility Dig Authority must be knowledgeable of plant systems and utilities and understand the "Underground Facility Damage Prevention and Safety Act," Chapter 556, Florida state law

Protective System - means a method of protecting employees from cave-ins, from material that could fall or roll from an excavation face or into an excavation, or from collapse of adjacent structures. Protective systems include support systems, sloping and benching systems, shield systems, and other systems that provide the necessary protection.

Ramp - means and inclined walking or working surface that is used to gain access to one point form another, and is constructed from earth or from structural materials such as steel or wood.

Responsible Person - is a WW Gay employee in charge of any subsurface work. In most cases it will be the job foreman directly responsible for construction. They must be aware of safety issues and risks associated with the work environment. The Responsible Person must also have an understanding of project details, including the work order number, the names of employees or contractors performing work on the project, and the location/extent of the work to be performed. All of this information must be provided to the Plant/Facility Dig Authority when a dig authorization request is made.

NOTE: The Responsible Person must diligently convey project details and engineering drawings, to the best of their ability, to the Plant/Facility Dig Authority. Otherwise the dig authorization process may take considerably longer than the typical 3 days as a result of the added research required of the dig authority.

Sheeting - means the members of a shoring system that retain the earth in position and in turn are supported by other members of the shoring system.

Shield (shield system) - means a structure that is able to withstand the forces imposed on it by a cave-in and thereby protect employees within structures or can be designed to be portable and moved along as work progresses. Additionally, shields can be either premanufactured or job-built in accordance with 1926.652 (c)(3) or (c)(4). Shields used in trenches are usually referred to as "trench boxes" or "trench shields".

Shoring (Shoring system) - means a structure such as a metal hydraulic, mechanical or timber shoring system that supports the sides of an excavation and which is designed to prevent cave-ins.

Sloping - (Sloping System) means a method of protecting employees form cave-ins by excavating to form sides of an excavation that are inclined away from the excavation so as to prevent cave-ins. The angle of incline required to prevent a cave-in varies with differences in such factors as the soil type, environmental conditions of exposure, and application of surcharge loads.

Stable Rock - means natural solid mineral material that can be excavated with vertical sides and will remain intact while exposed. Unstable rock material on the side or sides of the excavation is secured against caving-in or movement by rock bolts or by another protective system that has been designed by a registered professional engineer.

Structural Ramp - means a ramp built of steel or wood, usually used for vehicle access. Ramps made of soil or rocks are not considered structural ramps.

Support System - means a structure such as underpinning, bracing, or shoring, which provides support to an adjacent structure, underground installation, or the sides of an excavation.

Trench (Trench excavation) - means a narrow excavation (in relation to its length) made below the surface of the ground. In general, the depth is greater than the width, but the width of a trench (measured at the bottom) is not greater than 15 feet (4.6 m). If forms or other structures are installed or constructed in an excavation so as to reduce the dimension measured from the forms or structure to the side of the excavation to 15 feet (4.6 m) or less (measured at the bottom of the excavation), the excavation is also considered to be a trench.

Uprights - means the vertical members of a trench shoring system placed in contact with the earth and usually positioned so that individual members do not contact each other. Uprights placed so that individual members are closely spaced, in contact with or interconnected to each other, are often called "sheeting."

Wales - means horizontal members of a shoring system placed parallel to the excavation face whose sides bear against the vertical members of the shoring system or earth.

# 3.0	 	RESPONSIBILTIIES

## 3.1		Project Manager

The Project Manager is responsible for:

- Implementing and enforcing this procedure.

- Making subcontractors aware of the requirements of this procedure.

## 3.2	 	Foreman

The Foreman is responsible for;

- Ensuring a Competent Person inspects daily, or more often as required, that site conditions are safe for personnel to work in excavations

- Monitoring compliance with this procedure.

- Act as the Responsible person for the excavation process.

## 3.3  	Competent Person(s):

Competent person(s) shall;

- Be trained in and knowledgeable of excavation and trenching standard and other programs that may apply (Hazard Communication, Confined Space, and Respiratory Protection).

- Be capable of recognizing hazardous conditions and must have authority to stop work and ensure that hazards are corrected.

- Perform and document the 'Daily Excavation Inspection', and knows when inspections should be performed.

- Identify and ensure the use of adequate protective systems, work methods and personal protective equipment (PPE) on the excavation site.

## 3.4  	Employees

Employees are responsible for working in accordance with the provisions of this procedure.

- No employees shall enter an excavation, meeting the scope of this procedure, until authorized by the competent person.

# general requirememts

## 4.1  	Surface Encumbrances

All equipment, materials, supplies, buildings, roadways, trees, utility vaults, boulders, etc. that could present a hazard to employees working in the excavation shall be removed or supported as necessary to protect personnel

When there is an exposure to public traffic the workers shall be provided with protective vests or another means of protection.

## 4.2  	Temporary Spoil

The following requirements shall be adhered to in the placement of temporary spoil at an excavation site

- Temporary spoil shall be placed no closer than 2 feet from the surface edge of the excavation.

  - The distance is measured from the nearest base of the spoil to the cut, not from the crown of the spoil deposit.

- This distance requirement ensures that loose rock or soil from the temporary spoil will not fall on personnel in the trench.

- The spoil should be placed so that it channels rainwater and other run-off water away from the excavation.

- Spoil shall be placed so that it cannot accidentally run, slide, or fall back into the excavation

## 4.3 	Surface Crossing of Trenches

Surface crossing of trenches shall not be made unless absolutely necessary. If necessary, they are only permitted under the following conditions:

- Vehicle crossings must be designed by and installed under the supervision of a registered professional engineer.

- Walkways or bridges must have a minimum clear width of 20 inches, be fitted with standard rails, and extend a minimum of 24 inches past the surface edge of the trench

## 4.4  	Ingress and Egress

Trenches 4 feet or more in depth shall be provided with ladders or other fixed means of egress

- Ladders must be secured and extend a minimum of 36 inches above the landing

- Spacing shall be such that a worker will not have to travel more than 25 feet to the nearest means of egress

## 4.5  	Exposure to Falling Loads

- Personnel shall not be allowed in the excavation while heavy equipment is digging

- Personnel shall not work under loads being lifted or moved by heavy equipment used for digging or lifting.

- Personnel are required to stand away from equipment that is being loaded or unloaded to avoid being struck by falling materials or spillage.

## 4.6	 	Hazardous Atmospheres and Confined Spaces

If there is any possibility that the trench or excavation could contain a hazardous atmosphere, atmospheric testing shall be conducted prior to entry

- Testing shall be conducted before employees enter the trench and shall be done regularly to ensure that the trench remains safe.

- The frequency of testing shall be increased if equipment is operating in the trench that could produce airborne contaminants.

Trenches and excavations with hazardous concentrations of airborne contaminants or oxygen deficient atmospheres qualify as confined spaces. When this occurs, compliance the WW Gay Confined Space Program is required.

Employees shall not be permitted to work in hazardous and/or toxic atmospheres. These include atmospheres with:

- Less than 19.5% oxygen

- A combustible gas concentration greater than 20% of the lower flammable limit,

- Concentrations of hazardous substance that exceed those specified in the Threshold Limit Values for airborne contaminants established by the ACGIH.

## 4.7  	Standing Water and Water Accumulation

Personnel shall not enter or work in excavations with standing water or in which water is accumulating unless adequate protection is provided. Protective methods for these circumstances include:

- Use of special support or shield systems approved by a registered professional engineer

- Water removal equipment used and monitored by a competent person

- Safety harnesses and lifelines used in conformance with 29 CFR 1926.104

During rainstorms personnel shall exit an excavation.

- The excavation shall be inspected by a competent person after each rain and before personnel are permitted to re-enter.

Protective measures such as diversion ditches and dikes should be used to limit surface runoff water from entering the excavation.

# 5.0 	SOIL CLASSIFICATIONS

Every soil and rock deposit shall be classified by a competent person as stable rock, type A, type B, or type C before excavation can begin. In a layered system, the system shall be classified according to its weakest layer. Any time the properties, factors, or conditions affecting the soil type change in any way, the area shall be reevaluated and reclassified to reflect the changed circumstances

## 5.1 	Soil Types

### 5.1.1	Stable Rock

Stable rock is natural solid mineral matter.

### 5.1.2	Type A Soil

Type A soil is cohesive soil with an unconfined, compressive strength of 1.5 tons per square foot or greater. Examples of Type A soils are: clay, silty clay, sandy clay, clay loam, caliche, hardpan and, in some cases, silty loam and sandy clay loam.

No soil is Type A if:

- The soil is fissured.

- The soil is subject to vibration from heavy traffic, pile driving, or similar effects.

- The soil has been previously disturbed.

- The soil is part of a sloped, layered system where the layers dip into the excavation on a slope of four horizontal to one vertical or greater.

- The material is subject to other factors that would require it to be classified as a less stable material.

### 5.1.3	Type B Soil

Type B soil is;

- Cohesive soil with an unconfined compressive strength greater than 0.5 tons per square foot, but less than 1.5 tons per square foot.

- Granular cohesionless soil including: angular gravel, silt, silt loam, sandy loam and, in some cases, silty clay loam and sandy clay loam.

- Previously disturbed soil except that which would otherwise be classed as Type C soil.

- Soil that meets the unconfined compressible strength or cementation requirements for Type A, but is fissured or subject to vibration.

- Dry rock that is not stable.

- Material that is part of a sloped, layered system where the layers dip into the excavation on a slope less steep that four horizontal to one vertical, but only if the material would otherwise be classified as Type B.

### 5.1.4	Type C Soil

Type C soil is:

- Cohesive soil with an unconfined compressive strength of 0.5 tons per square foot or less.

- Granular soil including gravel sand and loamy sand.

- Submerged soil or soil from which water is freely seeping.

- Submerged rock that is not stable.

- Material in a sloped, layered system where the layers dip into the excavation or a slope of four horizontal to one vertical or steeper.

# 6.0		SOIL TESTING

The competent person in charge of the excavation shall be responsible for determining the soil type. Classification tests of soil shall be performed by a competent person using at least one visual test and one manual test.

- All previously disturbed soil is automatically considered Type B or C soil

- Soil may be considered Type C by default and no additional tests shall be required

## 6.1 	Visual Tests

Visual tests provide qualitative information on the excavation site in general, the soil adjacent to the excavation, the soil forming the sides of the open excavation, and the soil taken as samples from the excavated material.

One or more of the following methodologies shall be used to perform a visual test:

- Observation of samples of soil and estimates of the range of particle sizes and their relative amounts.

  - Soil that is primarily composed of fine-grained material is cohesive material.

  - Soil composed primarily of coarse-grained sand or gravel is granular material.

- Observation of soil as it is excavated.

  - Soil that remains in clumps is cohesive

  - Soil that breaks up easily is granular.

- Observation of the side of the opened excavation and the adjacent surface.

  - Crack-like openings, tension cracks, and chunks of soil that spall off a vertical side could indicate fissured material.

  - Small spalls are evidence of moving ground and are potentially hazardous.

- Observation of the surrounding area and the excavation area itself for existing utility and other underground structures, and to identify previously disturbed soil.

- Observation of the sides of the excavation for layered systems.

- Observation of the excavation area for evidence of surface water, water seeping from the sides of the excavation, or the level of the water table.

- Observation of the excavation area for sources of vibration that may affect the stability of the excavation face.

## 6.2		Manual Tests

Manual tests provide quantitative as well as qualitative properties of soil. They provide more information in order to classify the soil properly.

One or more of the following methodologies shall be used to perform a manual test:

- Plasticity: Mold a moist or wet sample of soil into a ball and attempt to roll it into threads as thin as 1/8-inch in diameter. Cohesive material can be successfully rolled into threads without crumbling. For example, if at least a two inch (50mm) length of 1/8-inch thread can be held on one end without tearing, the soil is cohesive.

- Dry strength: If the soil is dry and crumbles on its own or with moderate pressure into individual grains or fine powder, it is granular (any combination of gravel, sand, or silt). If the soil is dry and falls into clumps which break up into smaller clumps, but the smaller clumps can only be broken up with difficulty, it may be clay in any combination with gravel, sand, or silt. If the dry soil breaks into clumps which do not break up into small clumps and which can only be broken with difficulty, and there is no visual indication the soil is fissured, the soil may be considered unfissured.

- Thumb penetration: The thumb penetration test can be used to estimate the unconfined compressive strength of cohesive soils. [This test is based on the thumb penetration test described in American Society for Testing and Materials (ASTM) Standard designation D2488 - "Standard Recommended Practice for Description of Soils (Visual-Manual Procedure)".] Type A soils with an unconfined compressive strength of 1.5 tsf can be readily indented by the thumb; however, they can be penetrated by the thumb only with very great effort. Type C soils with an unconfined compressive strength of 0.5 tsf can be easily penetrated several inches by the thumb, and can be molded by light finger pressure. This test should be conducted on an undisturbed soil sample, such as a large clump of soil, as soon as practicable after excavation to keep to a minimum the effects of exposure to drying influences. If the excavation is later exposed to wetting influences (rain, flooding), the classification of the soil must be changed accordingly.

- Other strength tests: Estimates of unconfined compressive strength of soils can also be obtained by use of a pocket penetrometer or by using a hand-operated shear vane.

- Drying test: The basic purpose of the drying test is to differentiate between cohesive material with fissures, unfissured cohesive material, and granular material. The procedure for the drying test involves drying a sample of soil that is approximately one inch thick (2.54 cm) and six inches (15.24 cm) in diameter until it is thoroughly dry:

  - If the sample develops cracks as it dries, significant fissures are indicated.

  - Samples that dry without cracking are to be broken by hand. If considerable force is necessary to break a sample, the soil has significant cohesive material content. The soil can be classified as an unfissured cohesive material and the unconfined compressive strength should be determined.

  - If a sample breaks easily by hand, it is either a fissured cohesive material or a granular material. To distinguish between the two, pulverize the dried clumps of the sample by hand or by stepping on them. If the clumps do not pulverize easily, the material is cohesive with fissures. If they pulverize easily into very small fragments, the material is granular.

# 7.0		protective systems

## 7.1		General

- Excavations under the base of the footing of a foundation or wall require a support system designed by a registered professional engineer.

- Sidewalks, pavement, utility vaults or other similar structures shall not be undermined unless a support system or another method of protection is provided to protect personnel from their possible collapse.

- The excavation competent person shall determine the type of protection required from 29 CFR 1926.650 to 29 CFR 1926.652 subpart P.

- The trench protective system for trenches 20 or more feet in depth shall be designed and approved by a Registered Professional Engineer.

  - The designs should include the sizes, types and configuration of materials to be used and the engineer’s identity. A copy of the design shall be kept at the jobsite.

- Protective support systems shall be utilized to protect personnel from cave-ins while working in any excavation unless:

  - The excavation is made entirely in stable rock, or;

  - The excavation is less than 5 feet deep and a competent person has examined the ground and found no indication of a potential cave-in.

- When soil conditions are unstable, excavations less than 5 feet deep must also be protected from cave-ins.

- Protective systems shall have the capacity to resist without failure all loads that are intended or could reasonably be expected to be applied or transmitted to the system.

- Timber shoring, aluminum, and hydraulic shoring must be determined according to the appendixes A & C of the standard. The devices should be used while in good repair & maintenance; if damaged, they must be inspected. The employee should be protected from hazards of falling, rolling, or sliding materials or equipment. They should not subjected to excessive forces and are installed to protect employees from lateral loads, employees must be restricted from being in the shield when installing or removing; the shield must be designed to resist calculated trench forces.

## 7.2 	Sloping and Benching Systems

The angle of incline required to prevent a cave-in varies with differences in such factors as the soil type, environmental conditions of exposure, and application of surcharge loads.

- The excavation Competent Person shall determine the angle of incline.

- The Table below provides the maximum allowable slopes based upon soil classification.

- The actual slope shall never be steeper than the maximum allowable slope.

- When there are signs of distress, the slope shall be cut back to an actual slope which is at least ½ horizontal to one vertical (1/2H:1V) less steep than the maximum allowable slope.

The length of the vertical sides of a benching system and the maximum allowable slope required to prevent a cave-in varies with differences in such factors as the soil type, environmental conditions of exposure, and application of surcharge loads.

- The excavation Competent Person shall determine the length of the sides and the maximum allowable slope.

APPROXIMATE ANGLE OF REPOSE

For Sloping of Sides of Excavations

Note: Clays, silts, loams or non-homogeneous soils require shoring and bracing.

The presence of ground water requires special treatment.

## 7.3		Shielding Systems

- Shields used in trenches are usually referred to as trench boxes or trench shields.

- Shields can be permanent structures or can be designed to be portable and moved along as work progresses.

- Shielding must extend above the ground level or the trench walls above the top of the box must be sloped.

## 7.4		Shoring Systems

Shoring systems shall be installed from the top down and removed from the bottom up unless they are installed and removed from outside the trench.

# 8.0		INSPECTIONS

The Competent Person shall conduct inspections of the entire excavation site:

- Daily and before the start of each shift.

- As dictated by the work being done in the trench.

- After every rain storm.

- When fissures, tension cracks, sloughing, undercutting, water seepage, bulging at the bottom, or other similar conditions occur.

- When there is a change in the size, location, or placement of the spoil pile.

- When there is any indication of change or movement in adjacent structures.

Excavation Inspection Summary Form shall be used to document the daily inspection.

If problems are found excavation is to be evacuated if necessary and provisions made for the repair of the excavation.

# 9.0 	Dig authorization procedure

Dig Authorization must always be obtained prior to starting work on any subsurface project. Working without Dig Authorization is a violation of WW Gay safety standards. Such unauthorized subsurface work may result in severe injury, or death, should workers come in contact with buried high voltage electrical cables or other hazardous conditions that may be hidden beneath subsurface work areas. Anyone who engages in unauthorized subsurface work at a WW Gay job site may be subject to strict disciplinary action.

# 10.0		Potential Subsurface Hazards

The following Table provides a listing of potential subsurface hazards that may be encountered at a WW Gay job site.

Potential Subsurface Hazards

Electrical Cables High Voltage Transmission & Distribution Lines: - 26.5 KVolt Lines - 4160 Volt Lines Plant Electrical Power: - 480 Volt Power - 220 Volt Power - <110 Volt Power Lines - Other Voltages DC Power Lines: - Miscellaneous and Low Voltage Power Lines Control Cables: - Low voltage electrical cables to switch yard Plant Grounding System: - Ground cables Electrical Ducts: - Electric cable ducts Plant Lighting Power Feeds

Communication Cables Phone Lines - Paging System

Water Lines City Water - Demineralized Water - Waste Water - Recycled Water - Potable Water Sprinkler Water - Fire Protection Water - Service Water Piping - Safety Shower Feed Lines - Ground Monitoring Wells - Gray Water (Reclaim water)

Drain Lines Yard Drains - Sewage Drains - Sanitary Sewer - Plant Sumps - Drain Sumps Plant Hot Drains - Plant Drains

Miscellaneous Steam Condensate - Plant (Instrument) Air - Coal Pile Runoff - Voids - Fuel Oil Lines

Warning! Any of the utilities and lines shown above and others may be present beneath the ground and within floors in and around the plant/facility.

When the Responsible Person in charge of a subsurface work project requests a Dig Authorization Number, the request initiates a series of research tasks that help determine if potentially dangerous subsurface hazards and/or obstacles may be hidden below the work area. Research tasks include:

- A review of plant engineering drawings for the area where the dig is planned.

- A surface scan of the dig area using a special Radio detection tool by the facility or designated contractor that can locate cables or pipes below surface areas when dictated by the Plant/Facility Dig Authority.

- A pre-construction meeting between the Responsible Person, the Plant Dig Authority and workers, to review the research findings for the area where digging will occur.

# 11.0		PROCEDURE

The Responsible Person must request and obtain dig authorization from the Plant/facility Dig Authority before any subsurface work can begin. The time needed to request and obtain dig authorization typically takes a minimum of 3 days. Some dig authorizations could take considerably more time, depending on the amount of project research necessary to assure a safe work environment.

## 11.1		Requirements

### 11.1.1	Dig Authorization Request

The Responsible Person must supply detailed project specifications and applicable plant engineering drawings to the Plant Dig Authority when making a dig authorization request. The Responsible Person must also schedule a pre-construction meeting to be held prior to the requested dig date.

### 11.1.2	Dig Authorization Approval

The Plant/facility Dig Authority requires at least 3 days between receipt of the dig request and the scheduled pre-construction meeting. This time is needed to visit the construction area, review project specifications, and research plant engineering drawings that are supplied by the Responsible Person. If this research shows that the dig area and work plan are safe, the Plant/facility Dig Authority will go to the pre-construction meeting prepared to issue a dig authorization number and a signed Dig Authorization Form to the Responsible Person. Conversely, if project research shows any safety concerns, the Plant/Facility Dig Authority may recommend changes to the original work plan. In certain situations the Plant Dig Authority may dictate that special procedures or safety standards be followed when the subsurface work commences, as noted on the approved dig authorization form. All of this is required to provide greater levels of safety for everyone involved in the project.

### 11.1.3	Pre-Construction Meeting

The Responsible Person must assure that the Plant Dig Authority and all construction personnel (when possible) who will be working on the subsurface work project are in attendance at the pre-construction meeting. The purpose of the meeting is to finalize the dig procedure work plan and review all safety concerns to assure that the project can be performed without jeopardizing the safety of personnel. The pre-construction meeting may be held prior to commencement of work, or on the same day that work will begin. The work project may be postponed if the Plant Dig Authority is not satisfied that all safety issues are in proper order.

WARNING: 
This dig authorization process is a best-effort attempt at assuring the safety of personnel who perform subsurface work at a WW Gay job site. It is impossible to guarantee 100% safety assurance when you cannot see what you are digging or drilling into, so always use EXTREME CAUTION whenever working on any subsurface area, even those areas that have been approved and authorized.

## 11.2	Task Summary

### 11.2.1	Responsible Person

Before making a request for dig authorization, the Responsible Person must perform the following tasks and deliver the required construction information to the Plant/Facility Dig Authority: (Refer to Figure 1 for guidance)

- Visit the work site. Identify the type of work (excavating, drilling, etc.) and extent of work (how many holes, how long a trench, etc.) and premark the site with paint, flags, etc. to identify the exact location of the dig.

- Obtain written permission for the construction.

- Obtain the name of the excavator or department doing the digging, and a copy of excavator’s insurance binder. Also obtain names of the project engineer, foreman, construction supervisor, and workers.

- Obtain documentation of the qualifications of the equipment operator performing the digging, drilling, etc.

- Schedule a pre-construction meeting to take place after the dig authorization request is made. Notify all project personnel that they must attend this meeting.

- Obtain the date of the contractor safety briefing. This briefing may be performed at the pre-construction meeting.

- Obtain copies of the construction drawings that show the work to be performed and pass them along to the Plant/Facility Dig Authority when the request is made.

- Obtain copies of applicable plant engineering drawings that show hidden utilities in the dig area and research these drawings to identify buried utilities or potential hazards.

- Check with the Plant/Facility Dig Authority to determine if Sunshine State One Call of Florida notification requirements apply to the project. If required, notify One Call and obtain a confirmation number.

- Make arrangements to meet with representatives from each local utility to mark all utilities that are located in close proximity to the dig site.

NOTE: The Plant/Facility Dig Authority will not act on any dig authorization request until the Responsible Person has completed all of the above project research tasks.

### 11.2.2	Plant/facility Dig Authority

Whenever a request for dig authorization is received, the Plant/Facility Dig Authority must perform the following functions to research the project:

- Request all required project information from the Responsible Person and enter it into the Dig Authorization Request Form.

- Determine if the Responsible Person needs to notify Sunshine State One Call of Florida.

- Review all drawings submitted by Responsible Person. Search for additional drawings if necessary (the authorization process will be delayed if the Responsible Person has not supplied all applicable station engineering drawings).

- Ensure the planned work site has been scanned with a Radio detection subsurface scanning tool. Report findings by listing any high risk requirements on the authorization request form.

- Review the environmental impact of the planned work and discuss the proposed work plan with the plant/facility management.

- Attend the Responsible Person’s scheduled pre-construction meeting to perform a final review of the request. If everything needed to assure a safe dig is in order, assign a dig authorization number and sign the dig authorization form.

# 12.0		Dig authorization request form

## 12.1	Field Descriptions

Dig Authorization Form, is filled-in by the Plant/Facility Dig Authority whenever a dig authorization request comes in from a Responsible Person. The information fields on the form are identified and described below:

### 12.1.1	Dig Authorization #

The top right corner of the form is where the Plant/Facility Dig Authority enters the dig authorization number. The number is assigned only after the subsurface work plan has been researched and approved, and a pre-construction meeting has been held.

### 12.1.2	Responsible Person

Printed name and title of the Responsible Person making the dig authorization request.

### 12.1.3	Telephone Numbers

Voice and Fax numbers for the Responsible Person.

### 12.1.4	Plant Dig Authority

Printed name and title of the Plant/Facility Dig Authority who is reviewing the dig authorization request.

### 12.1.5	Dig Location

General indication of the location where the subsurface work will occur and the Plant Maintenance Order Number.

### 12.1.6	Work Description

General description of the work that will be performed.

### 12.1.7	Extent of Work

An indication of the depth of the dig and reason for the dig.

### 12.1.8	Contractor/Vendor Safety Briefing

Date contractor personnel completed Contractor Orientation.

### 12.1.9	Pre-Construction Meeting

Date and time that the Responsible Person has scheduled the pre-construction meeting.

### 12.1.10	Meeting Attendees

Printed name and title of each person who will be in attendance at the pre-construction meeting.

### 12.1.11	Notification of Safety Rep:

Printed name and title of the plant/facility safety representative that has been notified of the planned dig and pre-construction meeting (Note: Safety Rep does not have to be present at the meeting).

### 12.1.12	Plant Reviewer

Printed name and title of any plant employee who is familiar with the area of the plant where the planned subsurface work will take place. (Note: The Plant Reviewer may also be the dig authority.)

### 12.1.13	Drawing #s Reviewed

Numbers of the plant engineering drawings that are being reviewed to assess safety considerations for the planned work.

### 12.1.14	Drawings Reviewed By

Printed name and title of the person who is reviewing the plant engineering drawings.

### 12.1.15	Excavator

Printed name of the company or department doing the actual subsurface digging.

### 12.1.16	Area Premarking

Description of the markings put in place to identify the dimensions and location of the planned subsurface dig area.

### 12.1.17	Special High Risk Requirements

An indication by the Plant/Facility Dig Authority that the work is high risk and may require one of more of the following special considerations:

### 12.1.18	Tool Grounding

Grounding requirements for tools used at the work site, if necessary. (Plant/Facility Dig Authority may enter N/A if not necessary.)

### 12.1.19	Utility Isolation & Marking

Station utilities that must be shut down and marked prior to start of work, if necessary. (Plant/Facility Dig Authority may enter N/A if not necessary.)

### 12.1.20	Dig Area Identification

Special marking requirements for the work site, if necessary. (Plant/Facility Dig Authority may enter N/A if not necessary.)

### 12.1.21	Identified or Known Hazards

List any known hazards that have been identified at the work. (Plant/Facility Dig Authority may enter N/A if not necessary.)

### 12.1.22	Work Area Scanned By

Printed name of the individual who has scanned the subsurface of the work area using a Radio detection Tool, and then marked-off all utilities within 2-feet of the dig area. Include the date of the scan.

### 12.1.23	uNDERGROUND fACILITY pROTECTION Confirmation #

The Florida DIG-SAFE Confirmation Number and date it was obtained after notifying DIG-SAFE of the planned project. (Plant/Facility Dig Authority may enter N/A if DIG-SAFE notification is not necessary.)

### 12.1.24	Authorized Start Date

Specified project start date and time, as authorized by the Plant/Facility Dig Authority.

### 12.1.25	Responsible Person Signature

Signature of the Responsible Person in charge of the subsurface work, indicating that all of the above information has been reviewed and the Plant/Facility Dig Authorization Procedure has been followed to the best of their ability.

### 12.1.26	Plant Dig Authority Approval Signature

Signature of the Plant/Facility Dig Authority who has approved the project to proceed, with the date signed.

NOTE: Use the back of the Dig Authorization Form to identify any unexpected difficulties that may have been encountered during the dig. Also list any new engineering drawings that may have been created as a result of the dig. Be sure to return the completed form to the Plant/Facility Dig Authority for filing after all work has been completed.

# 13.0		Sunshine State One Call of Florida

The Responsible Person may also have to notify Sunshine State One Call of Florida before starting work on a subsurface project at the plant/facility. The Plant/Facility Dig Authority will know when this is required. When required, the following procedure shall be followed;

- Call (800) 432-4770 two full business days before digging.

- Wait for utility companies to locate and mark their buried utilities with color-coded paint, flags or stakes.

- Protect the marks during excavation.

- Dig safely using extreme caution when digging within 24-inches of the locate marks.

- Wait for utility companies to locate and mark their buried utilities with color-coded paint, flags or stakes.

  - RED - Electric Power Lines, Cables, Conduit and Lighting Cables

  - YELLOW - Gas, Oil, Steam, Petroleum or Gaseous Material.

  - ORANGE - Communication, Alarm or Signal Lines, Cables or Conduit.

  - BLUE - Water, Irrigation and Slurry Lines

  - GREEN - Sewers and Drain Lines

  - PINK - Temporary Survey Markings

  - WHITE - Proposed Excavation

- Protect the marks during excavation.

- Dig safely using extreme caution when digging within 24-inches of the locate marks.

NOTE – When utility companies cannot respond to a request to locate underground utility instillations within 2 hours, or cannot establish exact locations of these installations, WW Gay employees may proceed, provided they do so with caution and provided detection equipment or other acceptable means to locate utility installations are used.

###### START

Figure 1. Dig Authorization Procedure

Responsible Person

Requests a dig authorization number from Dig Authority – request must be made at least 3 days before work is scheduled to begin

Plant/Facility Dig Authority

Reviews safety & environmental impacts of work project and discusses any safety issues with Plant Management.

Responsible Person

Receives a request for job that requires digging, cutting, or drilling into a subsurface area

Pre-Construction Meeting

Plant/Facility Dig Authority attends pre-construction meeting scheduled by Responsible Person and reviews all dig research findings with all personnel and subcontractors/vendors assigned to work on the project – checks that all permits, binders, and
safety requirements are satisfied

Responsible Person

Obtains a Plant Work Order number from the person who assigned the work

Responsible Person &
Plant/Facility Dig Authority

Review Dig Authorization
Form and fill-in all required
pre-work information fields

Responsible Person

Identifies names of all personnel assigned to work on the dig project

Responsible Person

Holds a safety briefing meeting for all vendors & subcontractors.

Is Work Safe to Perform?

As determined by Plant/Facility Dig Authority…

No               Yes

Responsible Person

Obtains copies of all vendor and subcontractor insurance binders

Responsible Person

Schedules a pre-construction
meeting with all engineers, 
foreman, contractors, workers and Plant/Facility Dig Authority

Work May Begin

Plant/Facility Dig Authority assigns an authorization number to the work project, allowing work to begin. If unforeseen hazards are detected after work begins, Responsible Person must halt work immediately and alert the
Plant/Facility Dig Authority, or
the Engineering Manager,
or Shift Engineer of
the  discovered hazard

Responsible Person

Visits the work site & determines extent of dig work needed (size and no. of holes, etc.)

Plant/Facility Dig Authority

Reviews plant engineering drawings & other research data.

Responsible Person

Request all plant engineering drawings for work site & performs research to determine if city or plant utilities, or hazards, are hidden below work surface

When Work is Complete…

Responsible Person enters
notes and other appropriate
information on the back of a
copy of the Dig Authorization
Form and turns the form over
to the Plant/Facility Dig Authority

Plant/Facility Dig Authority

Visits premarked work site
to determine Florida One Call notification requirements and to scan site with Radio detection scanner tool

Responsible Person

Premarks the work site
with paint, etc. to identify
all areas where digging
or cutting will occur

# 14.0		TRAINING

Employees involved in trenching and excavation operations shall be trained to ensure they obtain the necessary knowledge and skills for safe trenching and excavation operations prior to being assigned such work tasks. This training shall include;

- The requirements of this procedure.

- Hazards involved with trenching and excavating.

- Soil Identification.

- Safe slopes for different soil types and conditions.

- Proper installations and shoring.

- Stress patterns on trench walls.

- Effects on trench walls caused by utilities, foundations, etc.

- Weather conditions and its effects.

All other employees whose work operations are or may be in an area where trenching and excavation operation are conducted shall be instructed to an awareness level about the procedures, and prohibitions relating to work in such areas.

Retraining shall be provided for all authorized and affected employees whenever;

- There is a change in their job assignments.

- There is a change in equipment or processes that present a new hazard.

- There is a change in these procedures.

- A periodic inspection reveals, or the Safety Specialist has reason to believe, that there are deviations from or inadequacies in the employee's knowledge or use of these procedures.