COOL AIR MECHANICAL, INC.

# CAL/OSHA RIGGING PROGRAM

## PURPOSE

The purpose of this program is to establish minimum requirements for safe use of rigging and hoisting equipment.  This procedure is based on CAL-OSHA regulations T8 CCR 5042, 5043 and 5049.  Specifically, this focuses on slings used in conjunction with material handling equipment for the movement of material by hoisting. The types of slings covered are those made from alloy steel chain, wire rope, metal mesh, natural or synthetic fiber rope (conventional three strand construction), and synthetic web (nylon, polyester, and polypropylene).

EXCEPTION: Slings made from materials other than those detailed in this section shall be used only in accordance with the manufacturer's recommendations.

## DEFINITIONS

Angle of Loading: Inclination of a leg or branch of a sling may be measured from the horizontal or vertical plane. When angle of loading is less than 5 degrees from the vertical, the load may be considered a vertical load.

Basket Hitch: A sling configuration whereby the sling is passed under the load and has both ends, end attachments, eyes or handles on the hook or a single master link.

Braided Wire Rope: A rope formed by plaiting component wire ropes.

Braided Wire Rope Sling: A sling made from braided rope.

Bridle Wire Rope Sling: A sling composed of multiple legs with the top ends gathered in a fitting that goes over the lifting hook.

Cable Body Endless Sling, Mechanical Joint: A wire rope sling made endless from one continuous length of cable laid rope with the ends joined by one or more metallic fittings.

Cable Laid Grommet, Hand Tucked: An endless wire rope sling made from one continuous length of rope formed to make a body composed of 6 ropes around a rope core. The rope ends are hand tucked into the body thus forming the core. No sleeves are used.

Cable Laid Rope: A wire rope composed of 6 ropes laid as strands with a rope core.

Cable Laid Rope Sling, Mechanical Joint: A wire rope sling made from a cable laid wire rope with eyes fabricated by pressing or swaging one or more metal sleeves over the rope junction.

Choker Hitch: A sling configuration with one end of the sling passing under the load and through an end attachment, handle or eye on the other end of the sling.

Coatings: Elastomers or other suitable material applied to a sling to impart desirable properties.

Cross Rod: A wire used to join spirals of metal mesh to form the complete fabric.

Equivalent Entity: A person or organization (including an employer) which, by possession of equipment, technical knowledge and skills, can perform with equal competence the same repairs and tests as the person or organization with which it is equated.

Fabric (Metal Mesh): The flexible portion of the sling consisting of a series of transverse coils and cross rods and exclusive of terminal fittings.

Fabric Length (Metal Mesh): Length of the fabric measured between the extreme ends of the spiral loops.

Fabric Thickness (Metal Mesh): The fabric thickness shall be the nominal overall thickness of the spirals.

Handle: A terminal fitting to which metal mesh fabric is attached. This terminal fitting may be either a male handle (triangle) or female handle (choker).

Handle Eye: An opening in the handle shaped to accept a hook, shackle or other lifting device.

Handle, Female (Choker): A terminal fitting containing a handle eye and a slot. The slot shall be of such a dimension as to permit passage of the male handle and thereby allow use of the sling in a choker hitch.

Handle, Male (Triangle): The standard terminal fitting without a choker slot.

Hitch, Basket: Loading with sling passed under the load with both ends, end attachments, eyes, or handles on the hook or a single master link.

Hitch, Choker: Loading with sling passed through one end attachment, eye or handle and suspended by the other.

Hitch, Vertical: Loading with the sling vertical. Load suspended on a single part or leg.

Link, Master Coupling: Alloy steel welded coupling link used as an intermediate link to join alloy steel chain to master links.

Link, Master (Gathering Ring): Forged or welded steel link used to support all members (legs) of an alloy steel chain or wire rope sling.

Link, Mechanical Coupling (Alloy Steel Chain): A non-welded, mechanically closed link used primarily to attach master links, hooks, etc. to running length alloy steel chain.

Proof Load: The specific load applied in performance of the proof test.

Proof Test: A nondestructive tension test made by the sling manufacturer or equivalent entity to verify construction and workmanship of the individual sling.

Rated Capacity (Working Load Limit): The maximum allowable working load established by the sling manufacturer and permitted by the provisions of this Article.

Reach (Alloy Steel Chain): Effective length of an alloy steel chain sling measured from the top bearing surface of the master link to the bearing surface in the base (Bowl) of the hook.

Selvage Edge: Finished edge of synthetic webbing to prevent unraveling.

Sling Manufacturer:  A person or company assembling sling components into their final form for actual use. The sling manufacturer and the manufacturer of the sling material (Alloy steel chains, wire rope, metal mesh webbing, fiber rope or synthetic webbing) may or may not be identical.

Spiral: A single transverse coil that is the basic element from which metal mesh is fabricated.

Strand Laid Endless Sling, Mechanical Joint: A wire rope sling made endless from one continuous length of rope with the ends joined by one or more metallic fittings.

Strand Laid Grommet, Hand Tucked: An endless wire rope sling made from one continuous length of strand formed to make a 6 strand rope with a strand core. The strand ends are hand tucked into the body. No sleeves are used.

Strand Laid Rope: A wire rope made with strands (usually 6 or 8) formed around a fiber core, wire strand core, or independent wire rope core (IWRC).

Strength, Minimum Breaking: Minimum load at which the sling will break when loaded to destruction in direct tension.

Strength, Nominal Breaking: Load at which the sling could be expected to break when loaded to destruction in direct tension.

Tagline: A restraining line to control position of the load.

## SAFE OPERATING PRACTICES

Whenever any sling is used, the following practices shall be enforced:

- Slings that are damaged or defective shall not be used.

- Chain or wire rope slings shall not be shortened with knots or bolts or other makeshift devices.

- Slings shall not be kinked, or knotted.

- Slings shall not be loaded in excess of their rated capacities as prescribed by the sling manufacturer on the identification markings permanently affixed to the sling.

- Slings used in a basket hitch shall have the loads balanced to prevent slippage.

- Slings shall be set to avoid slippage.

- Slings shall be padded or protected from the sharp edges of their loads.

- Suspended loads shall be kept clear of all obstructions.

- All employees shall be kept clear of loads about to be lifted and of suspended loads. (See Section 5002).

- Hands or fingers shall not be placed between the sling and its load while the sling is being tightened around the load.

- Shock loading is prohibited.

- A sling shall not be pulled from under a load when the load is resting on the sling and damage to the sling may result.

- Tables S-1 and S-2 shall be used to determine the maximum safe working loads of various sizes of wrought iron and alloy steel chains and chain slings, except that higher safe working loads are permissible when recommended by the manufacturer for specific, identifiable products. Proof coil steel chain, also known as common or hardware chain, or other chain not recommended for slinging or hoisting by the manufacturer, shall not be used for hoisting purposes.

- Wrought iron chains in constant use shall be annealed or normalized at intervals not exceeding 6 months when recommended by the manufacturer. The chain manufacturer shall be consulted for recommended procedures for annealing or normalizing. Alloy chains shall not be annealed.

- Cool Air Mechanical, Inc. will not use slings without affixed and legible identification markings.

## INSPECTIONS

Each day before being used, the sling and all fastenings and attachments shall be inspected for damage or defects by a qualified person. Additional inspections shall be performed during sling use, where service conditions warrant. Damaged or defective slings shall be immediately removed from service.

## ALLOY STEEL CHAIN SLINGS

- Sling Identification – Alloy steel chain slings shall have permanently affixed and legible markings as prescribed by the manufacturer that indicate the recommended safe working load for the type(s) of hitch(es) used, the angle upon which it is based, and the number of legs if more than one.

- Attachments:

  - Hooks, rings, oblong links, pear-shaped links, welded or mechanical coupling links or other attachments shall have a rated capacity at least equal to that of the alloy steel chain with which they are used or the sling shall not be used in excess of the rated capacity of the weakest component.

  - Makeshift links or fasteners formed from bolts or rods, or other such attachments, shall not be used.

- Inspections.

  - In addition to the inspection required by T8 CCR 5043, a thorough periodic inspection of alloy steel chain slings in use shall be made on a regular basis, to be determined on the basis of:

    - Frequency of sling use.

    - Severity of service conditions.

    - Nature of lifts being made.

    - Experience gained on the service life of slings used in similar circumstances.

*Such inspections shall in no event be at intervals greater than once every 12 months.

  - Each employer shall make and maintain, for the service life of the sling, a record of the most recent month in which each alloy steel chain sling was thoroughly inspected, and shall make such record available for examination by the Division upon request.

  - The thorough inspection of alloy steel chain slings shall be performed by a qualified person designated by the employer, and shall include a thorough inspection for wear, defective welds, deformation and increase in link length. Where such defects or deterioration reduce the rated capacity the sling shall be immediately removed from service.

- Proof Testing. The employer shall ensure that before use, each new, repaired, or reconditioned alloy steel chain sling, including all welded components in the sling assembly, shall be proof tested in accordance with the sling manufacturer's recommendations. The employer shall retain a certificate of the proof test, for the service life of the sling, and shall make it available for examination by the Division upon request.

*Minimum proof loads for alloy steel chain shall be equal to twice the working load limit values shown for single slings.

- Sling Use – Alloy steel chain slings shall not be used with loads in excess of the rated capacities prescribed in Table S-1. Slings not included in these Orders shall be used only in accordance with the manufacturer's recommendations.

- Safe Operating Temperatures. Alloy steel chain slings shall be permanently removed from service if they are heated above 1000o F. When exposed to service temperatures in excess of 600o F, maximum working load limits permitted in Table S-1 shall be reduced in accordance with the chain or sling manufacturer's recommendations.

- Repairing and Reconditioning Alloy Steel Chain Slings.

  - Worn or damaged alloy steel chain slings or attachments shall not be used until repaired. When alloy steel chain slings are repaired or reconditioned and welding or heat treating is involved, such slings shall be proof tested by the manufacturer or equivalent entity.

  - Mechanical coupling links or low carbon steel repair links shall not be used to repair broken lengths of chain.

- Effects of Wear. If the chain size at any point of any links is less than that stated in Table S-1a, the sling shall be removed from service.

- Deformed Attachments.

  - Alloy steel chain slings with cracked or deformed master links, coupling links or other components shall be removed from service.

  - Slings shall be removed from service if hooks are cracked, have been opened more than 15 percent of the normal throat opening measured at the narrowest point or twisted more than 10 degrees from the plane of the unbent hook.

## WIRE ROPE SLINGS

- Sling UsE – Wire rope slings shall not be used with loads in excess of the rated capacities shown in Tables S-3 through S-14.

Slings not included in these Orders shall be used only in accordance with the manufacturer's recommendations.

- Minimum Sling Lengths.

  - Cable laid and 6 x 19 and 6 x 37 slings shall have a minimum clear length of wire rope 10 times the component rope diameter between splices, sleeves or end fittings.

  - Braided slings shall have a minimum clear length of wire rope 40 times the component rope diameter between the loops or end fittings.

  - Cable laid grommets, strand laid grommets and endless slings shall have a minimum circumferential length of 96 times their body diameter.

- Safe Operating Temperatures – Fiber core wire rope slings of all grades shall be permanently removed from service if they are exposed to temperatures in excess of 200o F. When non-fiber core wire rope slings of any grade are used at temperatures above 400o F, or below minus 60o F, the sling manufacturer's recommendations shall be followed.

- End Attachments:

  - Welding of end attachments, except covers to thimbles, shall be performed prior to the assembly of the sling.

  - A prototype of each welded end attachment shall be proof tested by the manufacturer or equivalent entity to check the design and welding method at twice the rated capacity before production is started. Subsequent tests of random samples shall be made. The manufacturer or equivalent entity shall provide a certificate of such tests which the employer shall retain and make available for examination by the Division upon request.

  - Where rope clip attachments are used, they shall be made with U-bolts on the dead or short end of the rope and the saddle on the live end. The minimum number of clips for end attachments shall be not less than indicated in manufacturer's tables, but in no case shall be less than three for any permanent installation. Clips shall be drop-forged steel. The clips shall be spaced at a distance equal to at least six times the diameter of the rope. All clip or clamp bolts shall be kept tight after tightening while rope is under tension.

- Removal from Service – Wire rope slings shall be immediately removed from service if any of the following conditions are present:

  - Six randomly distributed broken wires in one rope lay, or 3 broken wires in one strand in one rope lay.

  - Wear or scraping of one-third the original diameter of outside individual wires.

  - Kinking, crushing, bird caging or any other damage resulting in distortion of the wire rope structure.

  - Evidence of heat damage.

  - End attachments that are cracked, deformed or worn to the point where the rated capacity is reduced.

  - Hooks that have been opened more than 15 percent of the normal throat opening measured at the narrowest point or twisted more than 10 degrees from the plane of the unbent hook.

  - Corrosion that is of such severity or extent as to reduce the rated load capacity of the rope or end attachment.

  - One or more broken wires within one rope lay of the end attachments.

- Knots – Eyes in wire rope slings shall not be formed by using knots.

- Cool Air Mechanical, Inc. will ensure that wire rope and wire-rope slings:

  - Have permanently affixed and legible identification markings as prescribed by the manufacturer, and that indicate the recommended safe working load for the type(s) of hitch(es) used, the angle upon which it is based, and the number of legs if more than one; and

  - Not be used without affixed and legible identification markings as required by subsection (g)(1) of this section.

## METAL MESH SLINGS

- Sling Marking – Each metal mesh sling shall have permanently affixed durable identification stating the following:

  - Manufacturer's name or trademark.

  - Rated capacity in vertical basket hitch and choker hitch.

- Handles shall have a rated capacity at least equal to the metal fabric and exhibit no deformation after proof testing.

- Attachments of Handles to Fabric – The fabric and handles shall be joined so that:

  - The rated capacity of the sling is not reduced.

  - The load is evenly distributed across the width of the fabric.

  - Sharp edges will not damage the fabric.

- Sling Coatings – Coatings which diminish the rated capacity of a sling shall not be applied.

- Sling Testing – All new and repaired metal mesh slings, including handles, shall not be used unless proof tested by the manufacturer or equivalent entity at a minimum of 1 1/2 times their rated capacity. Elastomer impregnated slings shall be proof tested before coating.

- Proper Use of Metal Mesh Slings – Metal mesh slings shall not be used to lift loads in excess of their rated capacities as prescribed in Table S-17. Slings not included in these Orders shall be used only in accordance with the manufacturer's recommendations.

- Safe Operating Temperatures – Metal mesh slings which are not impregnated with elastomers may be used in a temperature range from minus 20o F. to plus 550o F.without decreasing the working load limit. Metal mesh slings impregnated with polyvinyl chloride or neoprene may be used only in a temperature range from zero degrees to plus 200o F. For operations outside these temperature ranges or for metal mesh slings impregnated with other materials, the sling manufacturer's recommendations shall be followed.

- Repairs:

  - Metal mesh slings which are repaired shall not be used unless repaired by a metal mesh sling manufacturer or an equivalent entity.

  - Once repaired, each sling shall be permanently marked or tagged, or a written record maintained, to indicate the date and nature of the repairs and the person or organization that performed the repairs. Records of repairs shall be made available for examination by the Division upon request.

- Removal From Service – Metal mesh slings shall be immediately removed from service if any of the following conditions are present:

  - A broken weld or broken brazed joint along the sling edge.

  - Reduction in wire diameter of 25 percent due to abrasion or 15 percent due to corrosion.

  - Lack of flexibility due to distortion of the fabric.

  - Distortion of the female handle so that the depth of the slot is increased more than 10 percent.

  - Distortion of either handle so that the width of the eye is decreased more than 10 percent.

  - A 15 percent reduction of the original cross sectional area of metal at any point around the handle eye.

  - Distortion of either handle out of its plane.

## NATURAL AND SYNTHETIC FIBER ROPE SLINGS

- Sling Use:

  - Fiber rope slings made from conventional three strand construction fiber rope shall not be used with loads in excess of the rated capacities prescribed in Tables S-18 through S-21.

  - Fiber rope slings shall have a diameter of curvature meeting at least the minimums specified in Figures S-4 and S-5.

  - Slings not included in these Orders shall be used only in accordance with the manufacturer's recommendations.

  - Natural and synthetic fiber rope slings shall not be used for suspending personnel platforms.

- Safe Operating Temperatures – Natural and synthetic fiber rope slings, except for wet frozen slings, may be used in a temperature range from minus 20o F to plus 180o F without decreasing the working load limit. For operations outside this temperature range and for wet frozen slings, the sling manufacturer's recommendations shall be followed.

- Splicing – Spliced fiber rope slings shall not be used unless they have been spliced in accordance with the following minimum requirements and in accordance with any additional recommendations of the manufacturer:

  - In manila rope, eye splices shall consist of at least three full tucks, and short splices shall consist of at least six full tucks, three on each side of the splice center line.

  - In synthetic fiber rope, eye splices shall consist of at least four full tucks, and short splices shall consist of at least eight full tucks, four on each side of the center line.

  - Strand end tails shall not be trimmed flush with the surface of the rope immediately adjacent to the full tucks. This applies to all types of fiber rope and both eye and short splices. For fiber rope under one inch in diameter, the tail shall project at least six rope diameters beyond the last full tuck. For fiber rope one inch in diameter and larger, the tail shall project at least six inches beyond the last full tuck. Where a projecting tail interferes with the use of the sling, the tail shall be tapered and spliced into the body of the rope using at least two additional tucks (which will require a tail length of approximately six rope diameters beyond the last full tuck).

  - Fiber rope slings shall have a minimum clear length of rope between eye splices equal to 10 times the rope diameter.

  - Knots shall not be used in lieu of splices.

  - Clamps not designed specifically for fiber ropes shall not be used for splicing.

  - For all eye splices, the eye shall be of such size to provide an included angle of not greater than 60 degrees at the splice when the eye is placed over the load or support.

- End Attachments – Fiber rope slings shall not be used if end attachments in contact with the rope have sharp edges or projections.

- Removal from Service – Natural and synthetic fiber rope slings shall be immediately removed from service if any of the following conditions are present:

  - Abnormal wear.

  - Powdered fiber between strands.

  - Broken or cut fibers.

  - Variations in the size or roundness of strands.

  - Discoloration or rotting.

  - Distortion of hardware in the sling.

- Repairs shall only be made by the manufacturer or equivalent entity. Only fiber rope slings made from new rope shall be used. Use of repaired or reconditioned fiber rope slings is prohibited.

- Cool Air Mechanical, Inc. will ensure that natural and synthetic fiber-rope slings:

  - Have permanently affixed and legible identification markings as prescribed by the manufacturer, and that indicate the recommended safe working load for the type(s) of hitch(es) used, the angle upon which it is based, type of fiber material, and the number of legs if more than one; and

  - Not be used without affixed and legible identification markings as required by subsection (g)(1) of this section.

## SYNTHETIC WEB SLINGS

- Sling Identification – Each sling shall be marked or coded to show the rated capacities for each type of hitch and type of synthetic web material.

- Webbing – Synthetic webbing shall be of uniform thickness and width and selvage edges shall not be split from the webbing's width.

- Fittings shall be:

  - Of a minimum breaking strength equal to that of the sling; and

  - Free of all sharp edges that could in any way damage the webbing.

- Attachment of End Fittings to Webbing and Formation of Eyes. – Stitching shall be the only method used to attach end fittings to webbing and to form eyes. The thread shall be in an even pattern and contain a sufficient number of stitches to develop the full breaking strength of the sling.

- Sling Use – Synthetic web slings illustrated in Figure S-6 shall not be used with loads in excess of the rated capacities specified in Tables S-22 through S-24. Slings not included in these Orders shall be used only in accordance with the manufacturer's recommendations.

- Environmental Conditions – When synthetic web slings are used, the following precautions shall be taken:

  - Nylon web slings shall not be used where fumes, vapors, sprays, mists or liquids of acids or phenolics are present.

  - Polyester and polypropylene web slings shall not be used where fumes, vapors, sprays, mists or liquids of caustics are present.

  - Web slings with aluminum fittings shall not be used where fumes, vapors, sprays, mists or liquids of caustics are present.

- Safe Operating Temperatures – Synthetic web slings of polyester and nylon shall not be used at temperatures in excess of 180o F. Polypropylene web slings shall not be used at temperatures in excess of 150o F.

- Repairs:

  - Synthetic web slings which are repaired shall not be used unless repaired by a sling manufacturer or an equivalent entity.

  - Cool Air Mechanical, Inc. shall retain a certificate of proof test, for the service life of the sling, and make it available for examination by the Division upon request.

  - Slings, including webbing and fittings, which have been repaired in a temporary manner shall not be used.

- Removal from Service – Synthetic web slings shall be immediately removed from service if any of the following conditions are present:

  - Acid or caustic burns.

  - Melting or charring of any part of the sling surface.

  - Broken or worn stitches.

  - Distortion of fittings.

  - Snags, punctures, tears or cuts.

  - Those slings with other apparent defects shall be referred to the manufacturer or equivalent entity for determination of rated capacity and safety for continued use.

- Synthetic Web Sling Storage. Synthetic web slings shall be stored in an area or facility where they are not subject to heat above 150o F or exposed to direct sunlight.

- Slings not included in these Orders shall be used only in accordance with the manufacturer's recommendation.

## DEFECTIVE HOIST OR SLING HOOKS AND RINGS

- Deformed or defective hooks or rings shall not be used.

- Deformed hooks or rings shall be replaced or repaired and reshaped under proper metallurgical control and proof tested.

- Annealing or normalizing shall be done only in accordance with the chain manufacturer's specifications.

- Hooks and shackles shall be used in accordance with manufacturer's recommendations.

- All hooks for which no applicable manufacturer's recommendations are available shall be tested to twice the intended safe working load before they are initially put into use. The employer shall maintain and keep readily available a certification record which includes the date of the test, the signature of the person who performed the test, and an identifier of the hook which was tested.

- Special custom design grabs, hooks, clamps, or other lifting accessories for such units as modular panels, prefabricated structures and similar materials, shall be marked to indicate the safe working loads and shall be proof-tested to 125 percent of the rated load prior to use.

- Shackles. Cool Air Mechanical, Inc. will ensure that shackles:

  - Have permanently affixed and legible identification markings as prescribed by the manufacturer that indicate the recommended safe working load;

  - Not be loaded in excess of its recommended safe working load as prescribed on the identification markings by the manufacturer; and

  - Not be used without affixed and legible identification markings as required by subsection (G)(1) of this section.